## Slide 1: Quantifying uncertainties in phytoplankton absorption coefficients for accurate validation of the PACE ocean color sensor: moving towards satellite retrieved phytoplankton functional types (PFTs)
Collin Roesler
Department of Earth and Oceanographic Science
Bowdoin College

## Slide 2: So in thinking about my project objectives I worked my way backward
Invert ocean color signal to retrieve hyperspectral phytoplankton absorption coefficients
Requires capability to validate with uncertainties
http://wamis.meraka.org.za/modis-basics

## Slide 3: Step 1. Retrieved phytoplankton absorption spectrum validated against exponentially-weighted profile of spectral phytoplankton absorption
2. Kd(l,z)
3. Profile a(l)
  Environmental considerations
  Spatial temporal scales
4. No scattering error
5. Phytoplankton signal extracted
Collaboration
Ackleson

## Slide 4: Step 4. Profile of hyperspectral absorption with minimized scattering error, quantified uncertainty
Hyperspectral, but scattering error
  WETLabs acs
No scattering error, but multispectral
  Turner ICAM
Collaboration
Twardowski, Sullivan, Boss

## Slide 5: Step 5. Extract phytoplankton absorption signal from total absorption from existing (and new) models, quantifying model uncertainties
Collaboration
Stramski, Reynolds
aT = aw+ aphyt + anap + acdom

## Slide 6: Step 6. Validate model estimation against in situ phytoplankton absorption spectra determined spectrophotometrically on glass fiber filter pads, quantifying uncertainty in QFT
Collaboration
Stramski, Reynolds
Mitchell?
7. filter pad absorption configuration
  scattering error
  beta correction
8. Retrospective reprocessing
Chart: Wavelength (nm)
a_p ac9 | 0.31233 | 0.34222 | 0.213 | 0.17422 | 0.13399 | 0.086577 | 0.071366 | 0.22311 | 0.00018339

## Slide 7: Conclusions
Hyperspectral Phytoplankton Absorption Coefficients
Pigment-based Phytoplankton Functional Types
spectrophotometric analysis
discrete filter pad samples,
Modeled from in situ profiles of total absorption
Uncertainties spectrophotometric analysis
Uncertainties phytoplankton absorption models
Uncertainties in situ measured absorption
Uncertainties in PFT approach
Environmental Uncertainties
Measurement Uncertainties
Scattering loss Uncertainties
Amplification Uncertainties