## Slide 1: Understanding Natural Variability of VSFs and Its Impact on Biogeochemical Retrieval from Ocean Color
Xiaodong Zhang: University of North Dakota
Deric Gray: Naval Research Lab
Wayne Slade: Sequoia Scientific, Inc.
Notes: Key elements of this proposed study are: 1) natural variability of VSFs, with new instrument capability and recent measurements in coastal and oceanic waters
2) New ways to understand this natural variability
3) Impart new understanding to biogeochemical retrieval from ocean color

## Slide 2: 1. Spatial and temporal variability of VSFs
LISST, 532 nm, 32 angles 0.07 – 13.9°
VSM, 532 nm, 0.6:0.3:177.3°
MVSM, 8 wavelengths, 0.5(10):0.25:179°
ECO-VSF, 3 wavelengths, 100, 125, 150°
HydroScat, 6 wavelengths, 140°
Ac-9 or ac-s
LISST+MVSM: 532 nm, complete VSFs 0.07 – 179°
MVSM, ECO, HS6: Spectral bb
ac meters: Spectral c and a

## Slide 3
IOP agreement between different instruments:
R > 0.96
RMSD < 10%

## Slide 4: 2. Biogeochemical sources of bb: A combination of inverse- and forward-modeling approach by analyzing measured VSFs
VSF-Inverse modeling at 532 nm
Particle size distributions
Forward modeling at other wavelength
Assumptions
Oceanic particles comprise of sub-populations, each follows log-normal distribution and of the same composition (refract. Index) Zhang et al. (2011)
Sub-populations represent different biogeochemical stocks. Zhang et al. (2012; 2013; 2014), Czerski et al. (2011), Twardowski et al. (2012).

## Slide 5
Balch et al. (2005)
bb vs. PIC
Stramski et al. (2008)
bb vs. POC
bb vs. Phytoplankton-C
Martinez-Vincente et al. (2013)
Behrenfeld et al. (2005)
bb has been empirically related to many things
bb vs. SPM
Lorthiois et al. (2012)
bb slope vs. PSD slope
Kostadinov et al (2012)

## Slide 6: Question: what contribute to bb? Dissolved vs. Particulate
Particles
0.2 µm
Zhang et al. (2014)
Zhang and Gray (2015)

## Slide 7: In coastal waters, “dissolved” portion of particles scatter light much greater than pure seawater and contribute 30-80% of total bb
D09: Dall’Olmo et al. (2009) equatorial Pacific ocean
SW05: Stramski and Wozniak (2005) simulated colloidal scattering
Next step: Analyzing SABOR data

## Slide 8: Simulated vs. measured spectral bb
Dinoflagellate bloom
Most cases like this

## Slide 9: Simulated vs. measured spectral b, bb, bb ratio
In general, simulation overestimate spectral slopes of bb, slight overestimation in spectral slopes for b and bb ratio
In forward modeling, I assumed
Refractive index does not change with wavelength. While this is ok for real part of the index, it is NOT ok for imaginary part of the index.
Next step
To account for absorption, i.e., change in imaginary part of the refractive index, in forward modelling for phytoplankton-type and very small (dissolved) particles.

## Slide 10: An unexpected challenge in using measured VSFs with HydroLight:
To ingest measured VSFs, HL does this things
  Estimate VSFs at 0.1:0.1:180 through interpolation or extrapolation with a user provided function
  Estimate VSF slope at smaller angles using the measurements at 0.1 and 0.2 deg assuming
  Analytically integrate VSF between 0 and 0.1 using the above equation and between 0.1 and 180 numerically.
This only works if m < 2; otherwise you get negative integration value between 0 and 0.1, which in turn lowers the estimate b, increases bb ratio.