## SpMA RSO ATP Configs
SpMA RSO A
SpMA RSO B
SpMA RSR Equations to Use for Analysis (since both FP-15/16 p1 and p2 will be performed in TVAC, inclusion of SiO2 transmission in part1 equations).
Note that Vsipd and Vpyro are with respect ot the Ref. Spectrum B config. For F1, SpMA calibriation was conducted in the Ref. A setup.
Calc RSO B = RSO B_old/RSO A_old * RSO A_new
where "_old" data comes from J. Nixt's SpMA compliance report.
FP-15/16 p1
FP-15/16 p2

## F1 SpMA_RSO
Below are the calculations for the SpMA RSO to be used for F1 analysis.
Row A |  | Row B |  | Row C |  | Row D |  | Row E |  | Row F |  | Row G |  | Row H |  | Row I |  | Row J |  | Row K |  | Row L |  | Row M
Window | SiO2 | Window | SiO2 | Window | SiO2 | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe
Det | Si | Det | Si | Det | Si | Det | Pyro | Det | Si | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro
Grat | 1 | Grat | 1 | Grat | 1 | Grat | 1 | Grat | 2 | Grat | 2 | Grat | 2 | Grat | 2 | Grat | 3 | Grat | 3 | Grat | 4 | Grat | 4 | Grat | 4
SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000
SlitB | 1712 | SlitB | 586 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1076
SlitC | 2000 | SlitC | 770 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 1258
O.F. | 5 | O.F. | 5 | O.F. | 2 | O.F. | 2 | O.F. | 7 | O.F. | 7 | O.F. | 8 | O.F. | 4 | O.F. | 12 | O.F. | 10 | O.F. | 11 | O.F. | 16 | O.F. | 16
Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO | Wavelength (um) | SpMA RSO
0.34599 | 0.0030252 | 0.34201 | 0.00033271 | 0.606 | 0.011961 | 1.026 | 4.7661e-08 | 990.0214 | 1.2436e-07 | 1.012 | 8.4862e-10 | 1.75 | 9.9019e-09 | 2.244 | 2.46e-09 | 2.232 | 1.7767e-09 | 5.13 | 5.43e-08 | 6.8199 | 1.9752e-08 | 9.1401 | 1.028e-07 | 9.1401 | 4.0859e-08
0.35201 | 0.0038534 | 0.34399 | 0.00036519 | 0.61199 | 0.016644 | 1.032 | 4.8538e-08 | 1002.018 | 1.8141e-07 | 1.024 | 1.7772e-09 | 1.756 | 1.2784e-08 | 2.256 | 3.3515e-09 | 2.82 | 1.0846e-10 | 5.1799 | 5.6379e-08 | 6.8999 | 3.1307e-08 | 9.22 | 1.0324e-07 | 9.1902 | 3.987e-08
0.35801 | 0.0047986 | 0.34599 | 0.00039643 | 0.618 | 0.018704 | 1.038 | 4.9065e-08 | 1014.027 | 1.6127e-07 | 1.036 | 2.2678e-09 | 1.762 | 1.6192e-08 | 2.268 | 4.8004e-09 | 2.8701 | 1.1575e-09 | 5.2299 | 5.4648e-08 | 6.98 | 3.4835e-08 | 9.3001 | 1.0179e-07 | 9.24 | 3.8147e-08
0.364 | 0.0055819 | 0.348 | 0.00042953 | 0.624 | 0.019203 | 1.044 | 4.8613e-08 | 1026.021 | 1.6334e-07 | 1.048 | 1.1851e-09 | 1.768 | 2.0227e-08 | 2.28 | 6.7813e-09 | 2.92 | 9.2978e-09 | 5.2801 | 6.1288e-08 | 7.0601 | 4.4626e-08 | 9.38 | 9.8177e-08 | 9.2898 | 3.6834e-08
0.37001 | 0.0065165 | 0.35 | 0.00046216 | 0.63 | 0.019097 | 1.05 | 4.9669e-08 | 1037.976 | 1.5934e-07 | 1.06 | 3.5113e-10 | 1.774 | 2.5305e-08 | 2.292 | 9.9324e-09 | 2.9701 | 3.4784e-08 | 5.33 | 6.7637e-08 | 7.14 | 4.2876e-08 | 9.46 | 9.4228e-08 | 9.3398 | 3.7687e-08
0.376 | 0.0071865 | 0.35201 | 0.00050079 | 0.636 | 0.018549 | 1.056 | 5.0131e-08 | 1050.011 | 3.4412e-07 | 1.072 | 1.3325e-09 | 1.78 | 3.1291e-08 | 2.304 | 1.4749e-08 | 3.0199 | 4.8647e-08 | 5.3801 | 6.8888e-08 | 7.22 | 4.7315e-08 | 9.54 | 9.1476e-08 | 9.39 | 3.6461e-08
0.382 | 0.0078088 | 0.354 | 0.00054089 | 0.642 | 0.017826 | 1.062 | 5.1162e-08 | 1062.024 | 4.0774e-07 | 1.084 | 2.415e-09 | 1.786 | 3.8256e-08 | 2.316 | 2.128e-08 | 3.0699 | 5.0496e-08 | 5.43 | 5.2297e-08 | 7.2998 | 4.8881e-08 | 9.62 | 8.857e-08 | 9.4401 | 3.5865e-08
0.388 | 0.0084171 | 0.35599 | 0.00058223 | 0.64801 | 0.016982 | 1.068 | 5.1154e-08 | 1074.016 | 2.9097e-07 | 1.096 | 1.2913e-09 | 1.792 | 4.6751e-08 | 2.328 | 3.0903e-08 | 3.1201 | 4.9299e-08 | 5.48 | 5.0742e-08 | 7.3799 | 6.0618e-08 | 9.7001 | 8.6627e-08 | 9.49 | 3.4999e-08
0.39399 | 0.0090965 | 0.35801 | 0.00062542 | 0.65399 | 0.015882 | 1.074 | 5.232e-08 | 1086.021 | 3.2001e-07 | 1.108 | 1.6356e-09 | 1.798 | 5.6712e-08 | 2.34 | 4.3989e-08 | 3.1699 | 5.5055e-08 | 5.53 | 4.9618e-08 | 7.4599 | 6.4093e-08 | 9.7801 | 8.3501e-08 | 9.54 | 3.4043e-08
0.4 | 0.0099839 | 0.36001 | 0.00066819 | 0.66 | 0.0152 | 1.08 | 5.3626e-08 | 1098.023 | 7.0575e-07 | 1.12 | 6.7657e-10 | 1.804 | 6.4996e-08 | 2.352 | 5.7428e-08 | 3.2199 | 5.568e-08 | 5.5799 | 3.2973e-08 | 7.5401 | 7.5348e-08 | 9.8599 | 8.0269e-08 | 9.59 | 3.4234e-08
0.40601 | 0.011051 | 0.362 | 0.00070292 | 0.666 | 0.018672 | 1.086 | 5.3101e-08 |  |  | 1.132 | 2.0489e-10 | 1.81 | 7.1008e-08 | 2.364 | 7.0438e-08 | 3.27 | 5.7739e-08 | 5.6301 | 2.9162e-08 | 7.62 | 8.0654e-08 | 9.9401 | 7.5536e-08 | 9.6401 | 3.4436e-08
0.41201 | 0.012301 | 0.364 | 0.00073806 | 0.67199 | 0.023188 | 1.092 | 5.3286e-08 |  |  | 1.144 | 4.0967e-10 | 1.816 | 7.3955e-08 | 2.376 | 8.1326e-08 | 3.32 | 6.0005e-08 | 5.6799 | 2.8418e-08 | 7.7001 | 9.3738e-08 | 10.0198 | 7.2502e-08 | 9.69 | 3.4937e-08
0.41801 | 0.013591 | 0.36599 | 0.00077357 | 0.678 | 0.026883 | 1.098 | 5.3898e-08 |  |  | 1.156 | 3.9367e-09 | 1.822 | 7.7076e-08 | 2.388 | 8.6204e-08 | 3.37 | 6.3721e-08 | 5.7301 | 1.4225e-08 | 7.78 | 9.6536e-08 | 10.1002 | 6.9796e-08 | 9.7401 | 3.4391e-08
0.42401 | 0.014777 | 0.368 | 0.00081252 | 0.68399 | 0.028483 | 1.104 | 5.4064e-08 |  |  | 1.168 | 1.3397e-07 | 1.828 | 8.1297e-08 | 2.4 | 8.7415e-08 | 3.4201 | 6.7536e-08 | 5.7799 | 2.3332e-08 | 7.8599 | 9.3206e-08 | 10.1799 | 6.9057e-08 | 9.7901 | 3.2755e-08
0.43001 | 0.01582 | 0.37001 | 0.00085384 | 0.68999 | 0.027849 | 1.11 | 5.3401e-08 |  |  | 1.18 | 4.4839e-07 | 1.834 | 8.0856e-08 | 2.412 | 8.6372e-08 | 3.4701 | 6.7973e-08 | 5.8299 | 1.6169e-08 | 7.9401 | 9.8332e-08 | 10.2599 | 6.7485e-08 | 9.84 | 3.3222e-08
0.43601 | 0.01678 | 0.37199 | 0.00087696 | 0.69599 | 0.026255 | 1.116 | 5.323e-08 |  |  | 1.192 | 5.6649e-07 | 1.84 | 8.1761e-08 | 2.424 | 8.571e-08 | 3.5199 | 6.7436e-08 | 5.8801 | 8.4628e-09 | 8.0198 | 1.0193e-07 | 10.3401 | 6.5049e-08 | 9.8899 | 3.1518e-08
0.44199 | 0.017687 | 0.37401 | 0.00090487 | 0.70201 | 0.024176 | 1.122 | 5.2519e-08 |  |  | 1.204 | 6.5102e-07 | 1.846 | 8.9737e-08 | 2.436 | 8.1506e-08 | 3.57 | 6.7457e-08 | 5.9299 | 1.054e-08 | 8.0999 | 1.0324e-07 | 10.4198 | 6.3032e-08 | 9.9401 | 3.0095e-08
0.44799 | 0.018344 | 0.376 | 0.0009289 | 0.70799 | 0.022277 | 1.128 | 5.2693e-08 |  |  | 1.216 | 7.319e-07 | 1.852 | 9.8043e-08 | 2.448 | 7.9646e-08 | 3.62 | 7.321e-08 | 5.98 | 1.2786e-08 | 8.1801 | 1.0498e-07 | 10.5001 | 5.9438e-08 | 9.99 | 2.9957e-08
0.45399 | 0.019472 | 0.37799 | 0.00095383 | 0.714 | 0.020407 | 1.134 | 5.1566e-08 |  |  | 1.228 | 7.5477e-07 | 1.858 | 1.0647e-07 | 2.46 | 8.009e-08 | 3.67 | 7.4792e-08 | 6.0299 | 1.5215e-08 | 8.2598 | 1.0811e-07 | 10.5799 | 5.4802e-08 | 10.0398 | 2.9389e-08
0.46 | 0.020859 | 0.37999 | 0.00097783 | 0.72 | 0.018677 | 1.14 | 5.4228e-08 |  |  | 1.24 | 7.7767e-07 | 1.864 | 1.0873e-07 | 2.472 | 7.5141e-08 | 3.7199 | 7.384e-08 | 6.08 | 1.109e-08 | 8.34 | 1.0933e-07 | 10.66 | 5.1073e-08 | 10.0898 | 2.9279e-08
0.466 | 0.022589 | 0.382 | 0.0010045 | 0.726 | 0.017059 | 1.146 | 5.341e-08 |  |  | 1.252 | 7.9271e-07 | 1.87 | 9.806e-08 | 2.484 | 7.2765e-08 | 3.77 | 7.54e-08 | 6.13 | 1.7748e-08 | 8.42 | 1.1057e-07 | 10.7401 | 4.9307e-08 | 10.1399 | 2.9376e-08
0.47201 | 0.024358 | 0.38401 | 0.0010369 | 0.73201 | 0.015809 | 1.152 | 5.2977e-08 |  |  | 1.264 | 7.9244e-07 | 1.876 | 1.079e-07 | 2.496 | 7.1765e-08 | 3.8199 | 7.516e-08 | 6.1799 | 1.6836e-08 | 8.4999 | 1.1049e-07 | 10.82 | 4.7819e-08 | 10.1902 | 2.9739e-08
0.478 | 0.025876 | 0.38599 | 0.0010717 | 0.73801 | 0.014586 | 1.158 | 5.4268e-08 |  |  | 1.276 | 7.8196e-07 | 1.882 | 1.3449e-07 | 2.508 | 6.7004e-08 | 3.8699 | 7.6174e-08 | 6.2299 | 2.9551e-08 | 8.5799 | 1.1194e-07 | 10.9 | 4.5961e-08 | 10.2401 | 2.9865e-08
0.48401 | 0.027079 | 0.388 | 0.001107 | 0.74401 | 0.013492 | 1.164 | 5.5218e-08 |  |  | 1.288 | 7.9319e-07 | 1.888 | 1.4429e-07 | 2.52 | 6.0283e-08 | 3.92 | 7.2507e-08 | 6.2801 | 3.3324e-08 | 8.6602 | 1.1247e-07 | 10.98 | 4.6e-08 | 10.2899 | 2.9547e-08
0.48999 | 0.027875 | 0.38999 | 0.0011396 | 0.75001 | 0.0124 | 1.17 | 5.4766e-08 |  |  | 1.3 | 8.0951e-07 | 1.894 | 1.4312e-07 | 2.532 | 4.7431e-08 | 3.9699 | 7.2876e-08 | 6.33 | 2.2896e-08 | 8.74 | 1.1335e-07 | 11.0601 | 4.4267e-08 | 10.3401 | 2.888e-08
0.49601 | 0.028554 | 0.39201 | 0.0011739 | 0.756 | 0.01146 | 1.176 | 5.5055e-08 |  |  | 1.312 | 7.8534e-07 | 1.9 | 1.3068e-07 | 2.544 | 4.0544e-08 | 4.02 | 7.2702e-08 | 6.3801 | 1.1093e-08 | 8.8202 | 1.1223e-07 | 11.1402 | 4.1754e-08 | 10.3901 | 2.7819e-08
0.50199 | 0.0288 | 0.39399 | 0.0012035 | 0.762 | 0.010526 | 1.182 | 5.5443e-08 |  |  | 1.324 | 7.8282e-07 | 1.906 | 1.2712e-07 | 2.556 | 4.3559e-08 | 4.0699 | 7.0929e-08 | 6.43 | 6.2354e-09 | 8.9 | 1.1005e-07 | 11.2199 | 4.0432e-08 | 10.44 | 2.616e-08
0.508 | 0.028951 | 0.396 | 0.0012349 | 0.768 | 0.0098407 | 1.188 | 5.4536e-08 |  |  | 1.336 | 8.3549e-07 | 1.912 | 1.334e-07 | 2.568 | 2.3219e-08 | 4.12 | 6.9267e-08 | 6.4799 | 4.2367e-09 | 8.9799 | 1.0719e-07 | 11.3001 | 3.9294e-08 | 10.4899 | 2.5436e-08
0.51399 | 0.028841 | 0.398 | 0.0012589 | 0.77401 | 0.0090951 | 1.194 | 5.4274e-08 |  |  | 1.348 | 8.2358e-07 | 1.918 | 1.386e-07 | 2.58 | 2.0339e-08 | 4.17 | 6.3896e-08 | 6.5299 | 6.3877e-09 | 9.06 | 1.0594e-07 | 11.3798 | 3.818e-08 | 10.5401 | 2.4268e-08
0.51999 | 0.028855 | 0.4 | 0.0012926 | 0.77999 | 0.0083933 | 1.2 | 5.4583e-08 |  |  | 1.36 | 6.4372e-07 | 1.924 | 1.477e-07 | 2.592 | 1.2294e-08 | 4.2199 | 1.1215e-08 | 6.58 | 3.2387e-09 | 9.1401 | 1.0082e-07 | 11.4599 | 3.6541e-08 | 10.59 | 2.3392e-08
0.52599 | 0.028906 | 0.40199 | 0.0013303 | 0.78601 | 0.0078502 | 1.206 | 5.4383e-08 |  |  | 1.372 | 6.5765e-07 | 1.93 | 1.5695e-07 | 2.604 | 1.0705e-08 | 4.27 | 1.5927e-09 | 6.63 | 4.6277e-09 | 9.22 | 9.8239e-08 | 11.5399 | 3.4896e-08 | 10.6399 | 2.24e-08
0.53199 | 0.028731 | 0.404 | 0.0013725 | 0.79199 | 0.0073413 | 1.212 | 5.3649e-08 |  |  | 1.384 | 6.4898e-07 | 1.936 | 1.6438e-07 | 2.616 | 1.0239e-08 | 4.32 | 1.7522e-08 | 6.68 | 8.7022e-09 | 9.3001 | 9.7554e-08 | 11.6202 | 3.3081e-08 | 10.6899 | 2.1631e-08
0.53801 | 0.028579 | 0.40601 | 0.0014172 | 0.798 | 0.0068732 | 1.218 | 5.3992e-08 |  |  | 1.396 | 6.9104e-07 | 1.942 | 1.714e-07 | 2.628 | 1.4219e-08 | 4.3699 | 6.0335e-08 | 6.73 | 1.4479e-08 | 9.38 | 9.2766e-08 | 11.7002 | 3.2419e-08 | 10.7401 | 2.0935e-08
0.544 | 0.028236 | 0.408 | 0.0014632 | 0.804 | 0.0064238 | 1.224 | 5.3673e-08 |  |  | 1.408 | 7.1055e-07 | 1.948 | 1.8134e-07 | 2.64 | 3.273e-08 | 4.4201 | 7.1253e-08 | 6.7801 | 1.0016e-08 | 9.46 | 8.8965e-08 | 11.7802 | 3.2036e-08 | 10.79 | 2.0385e-08
0.55 | 0.027887 | 0.40999 | 0.0015203 | 0.80999 | 0.0061269 | 1.23 | 5.2394e-08 |  |  | 1.42 | 7.7443e-07 | 1.954 | 1.8717e-07 | 2.652 | 2.3861e-08 | 4.47 | 7.4402e-08 | 6.83 | 1.2381e-08 | 9.54 | 8.9608e-08 | 11.8598 | 2.9379e-08 | 10.8402 | 2.0224e-08
0.55599 | 0.027433 | 0.41201 | 0.0015983 | 0.81601 | 0.0058756 |  |  |  |  | 1.432 | 8.2418e-07 | 1.96 | 1.8923e-07 | 2.664 | 6.0707e-09 | 4.52 | 7.3287e-08 | 6.8801 | 1.0804e-08 | 9.62 | 8.8895e-08 | 11.94 | 2.7995e-08 | 10.89 | 1.9866e-08
0.56201 | 0.027022 | 0.414 | 0.0016671 | 0.82199 | 0.0056726 |  |  |  |  | 1.444 | 8.4715e-07 | 1.966 | 1.9137e-07 | 2.676 | 3.3246e-09 | 4.5701 | 6.7273e-08 | 6.93 | 2.0021e-08 | 9.7001 | 8.6942e-08 | 12.0202 | 2.7458e-08 | 10.9399 | 1.9637e-08
0.56799 | 0.026419 | 0.41601 | 0.0017365 | 0.828 | 0.0055493 |  |  |  |  | 1.456 | 8.4792e-07 | 1.972 | 1.9173e-07 | 2.688 | 1.1172e-08 | 4.6201 | 5.8467e-08 | 6.9801 | 1.3924e-08 | 9.7801 | 8.2134e-08 | 12.0999 | 2.624e-08 | 10.99 | 1.9356e-08
0.574 | 0.025871 | 0.41801 | 0.0017996 | 0.834 | 0.0056298 |  |  |  |  | 1.468 | 8.3154e-07 | 1.978 | 1.903e-07 | 2.7 | 1.4179e-08 | 4.6701 | 5.0653e-08 | 7.03 | 1.2451e-08 | 9.8599 | 8.0076e-08 | 12.1799 | 2.5934e-08 | 11.0401 | 1.922e-08
0.58 | 0.025235 | 0.42 | 0.0018511 | 0.83999 | 0.005709 |  |  |  |  | 1.48 | 8.3862e-07 | 1.984 | 1.8852e-07 | 2.712 | 9.67e-09 | 4.7199 | 4.6095e-08 | 7.08 | 1.8356e-08 | 9.9401 | 7.7537e-08 | 12.2599 | 2.4847e-08 | 11.0902 | 1.8789e-08
0.58599 | 0.024715 | 0.422 | 0.0019002 | 0.846 | 0.0057925 |  |  |  |  | 1.492 | 8.6726e-07 | 1.99 | 1.8708e-07 | 2.724 | 5.8261e-09 | 4.77 | 4.3018e-08 | 7.13 | 1.4584e-08 | 10.0198 | 7.3429e-08 | 12.3399 | 2.4004e-08 | 11.1402 | 1.8307e-08
0.592 | 0.024033 | 0.42401 | 0.0019373 | 0.85201 | 0.0059594 |  |  |  |  | 1.504 | 8.789e-07 | 1.996 | 1.8492e-07 | 2.736 | 1.0974e-08 | 4.8201 | 4.2653e-08 | 7.18 | 1.2473e-08 |  |  | 12.4201 | 2.3719e-08 | 11.19 | 1.7583e-08
0.598 | 0.023316 | 0.42601 | 0.0019722 | 0.858 | 0.0062721 |  |  |  |  | 1.516 | 8.8058e-07 | 2.002 | 1.8143e-07 | 2.748 | 1.3407e-08 | 4.87 | 4.2631e-08 | 7.2299 | 1.7435e-08 |  |  | 12.5 | 2.2939e-08 | 11.24 | 1.7388e-08
0.604 | 0.022786 | 0.428 | 0.0020164 | 0.86399 | 0.006569 |  |  |  |  | 1.528 | 8.8076e-07 | 2.008 | 1.7929e-07 | 2.76 | 6.1904e-09 | 4.9201 | 4.2674e-08 | 7.28 | 1.3161e-08 |  |  | 12.5799 | 2.2007e-08 | 11.2902 | 1.714e-08
0.61 | 0.022205 | 0.43001 | 0.0020562 | 0.87 | 0.0069437 |  |  |  |  | 1.54 | 8.865e-07 | 2.014 | 1.762e-07 | 2.772 | 6.0059e-09 | 4.97 | 4.1538e-08 | 7.3301 | 1.3938e-08 |  |  | 12.66 | 2.1934e-08 | 11.3399 | 1.679e-08
0.616 | 0.021501 | 0.43199 | 0.0020851 | 0.876 | 0.007391 |  |  |  |  | 1.552 | 8.7209e-07 | 2.02 | 1.7466e-07 | 2.784 | 6.0671e-09 | 5.0201 | 4.1851e-08 | 7.38 | 1.8201e-08 |  |  | 12.74 | 2.079e-08 | 11.3902 | 1.6508e-08
0.622 | 0.020759 | 0.43401 | 0.0021295 | 0.882 | 0.0078908 |  |  |  |  | 1.564 | 8.4729e-07 | 2.026 | 1.7228e-07 | 2.796 | 1.0654e-08 | 5.0699 | 4.5105e-08 | 7.43 | 1.8139e-08 |  |  | 12.8199 | 2.0527e-08 | 11.4402 | 1.6711e-08
0.628 | 0.020102 | 0.43601 | 0.0021678 | 0.888 | 0.0084225 |  |  |  |  | 1.576 | 8.2786e-07 | 2.032 | 1.7021e-07 | 2.808 | 6.6796e-09 | 5.1201 | 4.4656e-08 | 7.48 | 1.3385e-08 |  |  | 12.9001 | 1.9959e-08 | 11.4898 | 1.6431e-08
0.63399 | 0.019366 | 0.43801 | 0.0022187 | 0.89399 | 0.0089491 |  |  |  |  | 1.588 | 8.3228e-07 | 2.038 | 1.6808e-07 | 2.82 | 8.0343e-09 | 5.17 | 4.4789e-08 | 7.53 | 1.8329e-08 |  |  | 12.9801 | 1.9325e-08 | 11.5399 | 1.5951e-08
0.64 | 0.018542 | 0.43999 | 0.0022663 | 0.89999 | 0.0094788 |  |  |  |  | 1.6 | 8.3897e-07 | 2.044 | 1.6623e-07 | 2.832 | 1.0868e-08 | 5.2201 | 4.0776e-08 | 7.58 | 1.3684e-08 |  |  | 13.0599 | 1.8493e-08 | 11.59 | 1.5688e-08
0.646 | 0.01767 | 0.44199 | 0.002327 | 0.90601 | 0.010119 |  |  |  |  | 1.612 | 8.38e-07 | 2.05 | 1.6507e-07 | 2.844 | 1.1044e-08 | 5.27 | 4.4863e-08 | 7.6301 | 1.546e-08 |  |  | 13.1399 | 1.7875e-08 | 11.6401 | 1.5287e-08
0.65201 | 0.016644 | 0.44399 | 0.0023707 | 0.91199 | 0.010688 |  |  |  |  | 1.624 | 8.2036e-07 | 2.056 | 1.6214e-07 | 2.856 | 8.3999e-09 | 5.32 | 5.2567e-08 | 7.6801 | 1.675e-08 |  |  | 13.2199 | 1.6825e-08 | 11.6899 | 1.4757e-08
0.658 | 0.0153 | 0.44601 | 0.0023993 | 0.918 | 0.011318 |  |  |  |  | 1.636 | 8.1286e-07 | 2.062 | 1.6063e-07 | 2.868 | 1.0329e-08 | 5.37 | 4.8856e-08 |  |  |  |  | 13.3 | 1.5912e-08 | 11.7399 | 1.4037e-08
0.66399 | 0.01757 | 0.44799 | 0.0024206 | 0.92401 | 0.011924 |  |  |  |  | 1.648 | 8.0015e-07 | 2.068 | 1.5767e-07 | 2.88 | 1.0446e-08 | 5.4201 | 4.0447e-08 |  |  |  |  | 13.3798 | 1.512e-08 | 11.79 | 1.3569e-08
0.67001 | 0.022109 | 0.44999 | 0.002468 | 0.93001 | 0.01243 |  |  |  |  | 1.66 | 7.8708e-07 | 2.074 | 1.5589e-07 | 2.892 | 9.3306e-09 | 5.47 | 3.4522e-08 |  |  |  |  | 13.4602 | 1.3891e-08 | 11.8398 | 1.3663e-08
0.676 | 0.026293 | 0.45199 | 0.0025023 | 0.936 | 0.012815 |  |  |  |  | 1.672 | 7.7511e-07 | 2.08 | 1.5423e-07 | 2.904 | 8.0315e-09 | 5.5201 | 3.5238e-08 |  |  |  |  | 13.54 | 1.3397e-08 | 11.8898 | 1.3458e-08
0.68199 | 0.028727 | 0.45399 | 0.0025349 | 0.942 | 0.01353 |  |  |  |  | 1.684 | 7.7318e-07 | 2.086 | 1.5229e-07 | 2.916 | 8.8743e-09 | 5.5699 | 2.2216e-08 |  |  |  |  | 13.62 | 1.2456e-08 | 11.94 | 1.3294e-08
0.688 | 0.028614 | 0.45601 | 0.0025828 | 0.94799 | 0.014029 |  |  |  |  | 1.696 | 7.5899e-07 | 2.092 | 1.505e-07 | 2.928 | 7.9395e-09 | [6 empty] | 13.6999 | 1.1564e-08 | 11.9902 | 1.3013e-08
0.69401 | 0.027278 | 0.45801 | 0.0026353 | 0.95401 | 0.014623 |  |  |  |  | 1.708 | 7.391e-07 | 2.098 | 1.4847e-07 | 2.94 | 7.7756e-09 | [6 empty] | 13.78 | 1.1191e-08 | 12.04 | 1.2367e-08
0.70001 | 0.025284 | 0.46 | 0.0026919 | 0.96 | 0.015166 |  |  |  |  | 1.72 | 7.1244e-07 | 2.104 | 1.4569e-07 | [8 empty] | 13.8601 | 9.5341e-09 | 12.0901 | 1.2038e-08
0.70599 | 0.023204 | 0.46201 | 0.0027611 | 0.96601 | 0.015654 |  |  |  |  | 1.732 | 6.992e-07 | 2.11 | 1.4293e-07 | [8 empty] | 13.94 | 9.6696e-09 | 12.14 | 1.134e-08
0.71199 | 0.021346 | 0.46399 | 0.002831 | 0.972 | 0.016097 |  |  |  |  | 1.744 | 6.8187e-07 | 2.116 | 1.4103e-07 | [8 empty] | 14.0201 | 9.1495e-09 | 12.1899 | 1.1212e-08
0.718 | 0.019508 | 0.466 | 0.002926 | 0.978 | 0.016473 |  |  |  |  | 1.756 | 6.7008e-07 | 2.122 | 1.3934e-07 | [8 empty] | 14.0999 | 8.4163e-09 | 12.2401 | 1.0479e-08
0.72399 | 0.017845 | 0.46801 | 0.0030412 | 0.984 | 0.016939 |  |  |  |  | 1.768 | 6.5418e-07 | 2.128 | 1.3775e-07 | [8 empty] | 14.18 | 7.5562e-09 | 12.2901 | 1.0123e-08
0.73001 | 0.016459 | 0.47 | 0.0031457 | 0.99 | 0.01744 |  |  |  |  | 1.78 | 6.4563e-07 | 2.134 | 1.3594e-07 | [8 empty] | 14.2599 | 6.9316e-09 | 12.3399 | 9.888e-09
0.73601 | 0.015251 | 0.47201 | 0.0032448 | 0.99599 | 0.01774 |  |  |  |  | 1.792 | 6.1727e-07 | 2.14 | 1.3442e-07 | [8 empty] | 14.3399 | 5.8049e-09 | 12.39 | 9.5886e-09
0.74201 | 0.01405 | 0.474 | 0.0033174 | 1.002 | 0.017778 |  |  |  |  | 1.804 | 5.6396e-07 | 2.146 | 1.3249e-07 | [8 empty] | 14.4201 | 5.0368e-09 | 12.4402 | 9.2129e-09
0.74801 | 0.012957 | 0.476 | 0.003387 | 1.008 | 0.018183 |  |  |  |  | 1.816 | 4.9419e-07 | 2.152 | 1.3062e-07 | [8 empty] | 14.4999 | 4.1315e-09 | 12.4899 | 8.6996e-09
0.754 | 0.01194 | 0.478 | 0.0034303 | 1.014 | 0.018464 |  |  |  |  | 1.828 | 4.4222e-07 | 2.158 | 1.2863e-07 | [8 empty] | 14.5801 | 3.8632e-09 | 12.5401 | 8.4809e-09
0.76 | 0.011001 | 0.48 | 0.00347 | 1.02 | 0.018609 |  |  |  |  | 1.84 | 3.7237e-07 | 2.164 | 1.2731e-07 | [8 empty] | 14.6599 | 3.332e-09 | 12.5899 | 8.3363e-09
0.76601 | 0.010234 | 0.482 | 0.0035022 | 1.026 | 0.018831 |  |  |  |  | 1.852 | 3.8634e-07 | 2.17 | 1.2607e-07 | [8 empty] | 14.7402 | 3.0193e-09 | 12.64 | 8.3277e-09
0.772 | 0.0094899 | 0.48401 | 0.0035326 | 1.032 | 0.019132 |  |  |  |  | 1.864 | 3.8776e-07 | 2.176 | 1.239e-07 | [8 empty] | 14.8199 | 3.0275e-09 | 12.6899 | 8.0103e-09
0.77799 | 0.008741 | 0.486 | 0.0035642 | 1.038 | 0.019212 |  |  |  |  | 1.876 | 3.455e-07 | 2.182 | 1.2276e-07 | [8 empty] | 14.9 | 1.9039e-09 | 12.74 | 7.9059e-09
0.784 | 0.0081684 | 0.488 | 0.0035938 | 1.044 | 0.019126 |  |  |  |  | 1.888 | 4.2424e-07 | 2.188 | 1.2106e-07 | [8 empty] | 14.98 | 1.891e-09 | 12.7901 | 7.8715e-09
0.79 | 0.0076182 | 0.48999 | 0.0036081 | 1.05 | 0.01922 |  |  |  |  | 1.9 | 3.574e-07 | 2.194 | 1.1973e-07 | [8 empty] | 15.0602 | 3.1233e-09 | 12.8401 | 7.4793e-09
0.79601 | 0.0071217 | 0.492 | 0.0036606 | 1.056 | 0.019406 |  |  |  |  | 1.912 | 3.4324e-07 | 2.2 | 1.182e-07 | [8 empty] | 15.1399 | 2.5106e-09 | 12.8901 | 7.5812e-09
0.80201 | 0.0066783 | 0.49399 | 0.003698 | 1.062 | 0.019424 |  |  |  |  | 1.924 | 3.6142e-07 | 2.206 | 1.1635e-07 | [8 empty] | 15.2201 | 2.2127e-09 | 12.9402 | 7.633e-09
0.808 | 0.0063133 | 0.49601 | 0.0037631 | 1.068 | 0.019283 |  |  |  |  | 1.936 | 3.8673e-07 | 2.212 | 1.1462e-07 | [8 empty] | 15.3001 | 2.0371e-09 | 12.99 | 7.5882e-09
0.814 | 0.0060529 | 0.49801 | 0.0038081 | 1.074 | 0.019624 |  |  |  |  | 1.948 | 4.1057e-07 | 2.218 | 1.1281e-07 | [8 empty] | 15.3801 | 1.8496e-09 | 13.0401 | 7.4734e-09
0.82 | 0.0058223 | 0.50001 | 0.0038461 | 1.08 | 0.019721 |  |  |  |  | 1.96 | 4.1549e-07 | 2.224 | 1.1183e-07 | [8 empty] | 15.46 | 1.8838e-09 | 13.0899 | 7.4329e-09
0.826 | 0.0056744 | 0.50199 | 0.0038475 | [6 empty] | 1.972 | 4.1565e-07 | 2.23 | 1.0978e-07 | [8 empty] | 15.5401 | 1.7724e-09 | 13.1399 | 7.2606e-09
0.832 | 0.0056922 | 0.50399 | 0.0038486 | [6 empty] | 1.984 | 4.0627e-07 | 2.236 | 1.0798e-07 | [8 empty] | 15.6199 | 1.7009e-09 | 13.1901 | 7.1084e-09
0.83799 | 0.005769 | 0.506 | 0.0038321 | [6 empty] | 1.996 | 3.9722e-07 | 2.242 | 1.0659e-07 | [8 empty] | 15.7001 | 1.6149e-09 | 13.2399 | 6.7907e-09
0.844 | 0.0058615 | 0.508 | 0.0038106 | [6 empty] | 2.008 | 3.844e-07 | 2.248 | 1.0507e-07 | [8 empty] | 15.7798 | 1.5471e-09 | 13.2901 | 6.636e-09
0.84999 | 0.0059968 | 0.50999 | 0.003786 | [6 empty] | 2.02 | 3.724e-07 | 2.254 | 1.047e-07 | [8 empty] | 15.8599 | 1.5739e-09 | 13.3402 | 6.4597e-09
0.85599 | 0.0062792 | 0.51199 | 0.0037666 | [6 empty] | 2.032 | 3.6284e-07 | 2.26 | 1.0352e-07 | [8 empty] | 15.9399 | 1.3428e-09 | 13.39 | 6.2084e-09
0.86199 | 0.0065416 | 0.51399 | 0.0037473 | [6 empty] | 2.044 | 3.5535e-07 | 2.266 | 1.0162e-07 | [8 empty] | 16.0201 | 1.2863e-09 | 13.4401 | 5.9716e-09
0.868 | 0.0068974 | 0.51601 | 0.0037439 | [6 empty] | 2.056 | 3.4637e-07 | 2.272 | 9.9761e-08 | [8 empty] | 16.1001 | 1.2117e-09 | 13.4898 | 5.9017e-09
0.874 | 0.007394 | 0.518 | 0.0037406 | [6 empty] | 2.068 | 3.3752e-07 | 2.278 | 9.8596e-08 | [8 empty] | 16.1798 | 8.6383e-10 | 13.54 | 5.7626e-09
0.87999 | 0.0078397 | 0.51999 | 0.0037593 | [6 empty] | 2.08 | 3.2954e-07 | 2.284 | 9.6481e-08 | [10 empty] | 13.5898 | 5.592e-09
0.886 | 0.0083655 | 0.52201 | 0.0038013 | [6 empty] | 2.092 | 3.2162e-07 | 2.29 | 9.5544e-08 | [10 empty] | 13.64 | 5.2558e-09
0.89201 | 0.0089171 | 0.524 | 0.0038372 | [6 empty] | 2.104 | 3.0953e-07 | 2.296 | 9.4709e-08 | [10 empty] | 13.6901 | 5.066e-09
0.89799 | 0.0094535 | 0.52599 | 0.0038557 | [6 empty] | 2.116 | 3.0101e-07 | 2.302 | 9.3538e-08 | [10 empty] | 13.7402 | 5.0439e-09
0.904 | 0.010084 | 0.528 | 0.0038608 | [6 empty] | 2.128 | 2.959e-07 | 2.308 | 9.2205e-08 | [10 empty] | 13.7901 | 4.959e-09
0.91001 | 0.010662 | 0.53001 | 0.0038545 | [6 empty] | 2.14 | 2.8944e-07 | 2.314 | 9.0789e-08 | [10 empty] | 13.8399 | 4.4468e-09
0.91599 | 0.011312 | 0.53199 | 0.0038248 | [6 empty] | 2.152 | 2.8081e-07 | 2.32 | 8.9194e-08 | [10 empty] | 13.8898 | 3.8199e-09
0.92199 | 0.011953 | 0.53399 | 0.0037902 | [6 empty] | 2.164 | 2.7387e-07 | 2.326 | 8.7938e-08 | [10 empty] | 13.94 | 4.2576e-09
0.92801 | 0.012539 | 0.53599 | 0.0037731 | [6 empty] | 2.176 | 2.6617e-07 | 2.332 | 8.7284e-08 | [10 empty] | 13.9901 | 4.0121e-09
0.93399 | 0.012816 | 0.53801 | 0.0037504 | [6 empty] | 2.188 | 2.5748e-07 | 2.338 | 8.6644e-08 | [10 empty] | 14.0399 | 3.7951e-09
0.93999 | 0.013582 | 0.54 | 0.0037319 | [6 empty] | 2.2 | 2.4831e-07 | 2.344 | 8.5504e-08 | [10 empty] | 14.0902 | 3.5994e-09
0.94601 | 0.014082 | 0.54201 | 0.0037111 | [6 empty] | 2.212 | 2.386e-07 | 2.35 | 8.3927e-08 | [10 empty] | 14.14 | 3.2574e-09
0.95199 | 0.014688 | 0.544 | 0.0036835 | [6 empty] | 2.224 | 2.3052e-07 | 2.356 | 8.237e-08 | [10 empty] | 14.1901 | 3.0173e-09
0.958 | 0.015221 | 0.54599 | 0.0036759 | [6 empty] | 2.236 | 2.2025e-07 | 2.362 | 8.1234e-08 | [10 empty] | 14.2399 | 2.9599e-09
0.964 | 0.015777 | 0.54801 | 0.0036777 | [6 empty] | 2.248 | 2.1305e-07 | 2.368 | 8.0103e-08 | [10 empty] | 14.29 | 2.6839e-09
0.97 | 0.016233 | 0.55 | 0.0036981 | [6 empty] | 2.26 | 2.0887e-07 | 2.374 | 7.9643e-08 | [10 empty] | 14.3399 | 2.3293e-09
0.97599 | 0.016667 | 0.552 | 0.003715 | [6 empty] | 2.272 | 1.9998e-07 | 2.38 | 7.8718e-08 | [10 empty] | 14.3898 | 2.1187e-09
0.98199 | 0.017082 | 0.554 | 0.0037173 | [6 empty] | 2.284 | 1.9267e-07 | 2.386 | 7.7492e-08 | [10 empty] | 14.4399 | 2.0283e-09
0.988 | 0.017533 | 0.55599 | 0.0036966 | [6 empty] | 2.296 | 1.8866e-07 | 2.392 | 7.5992e-08 | [10 empty] | 14.4902 | 1.7188e-09
0.99399 | 0.017947 | 0.558 | 0.0036715 | [6 empty] | 2.308 | 1.8131e-07 | 2.398 | 7.4614e-08 | [10 empty] | 14.5399 | 1.5833e-09
0.99999 | 0.018026 | 0.56 | 0.0036317 | [6 empty] | 2.32 | 1.6383e-07 | 2.404 | 7.3529e-08 | [10 empty] | 14.5902 | 1.6265e-09
1.006 | 0.018344 | 0.56201 | 0.0035804 | [6 empty] | 2.332 | 1.6639e-07 | 2.41 | 7.2616e-08 | [10 empty] | 14.6398 | 1.4156e-09
1.012 | 0.01873 | 0.56401 | 0.0035331 | [6 empty] | 2.344 | 2.3544e-07 | 2.416 | 7.13e-08 | [10 empty] | 14.6898 | 1.2898e-09
1.018 | 0.018987 | 0.56601 | 0.003503 | [8 empty] | 2.422 | 7.0717e-08 | [10 empty] | 14.7402 | 1.277e-09
1.024 | 0.019035 | 0.56799 | 0.0034579 | [8 empty] | 2.428 | 6.9718e-08 | [10 empty] | 14.7901 | 1.2776e-09
1.03 | 0.01941 | 0.57 | 0.0034269 | [8 empty] | 2.434 | 6.7461e-08 | [10 empty] | 14.8399 | 1.3837e-09
1.036 | 0.019582 | 0.57199 | 0.0034025 | [8 empty] | 2.44 | 6.643e-08 | [10 empty] | 14.8899 | 1.1241e-09
1.042 | 0.019502 | 0.574 | 0.0034002 | [8 empty] | 2.446 | 6.5717e-08 | [10 empty] | 14.9399 | 1.8155e-10
1.048 | 0.019519 | 0.57599 | 0.0033975 | [8 empty] | 2.452 | 6.4711e-08 | [10 empty] | 14.99 | 1.0831e-09
1.054 | 0.019775 | 0.57801 | 0.0034012 | [8 empty] | 2.458 | 6.5194e-08 | [10 empty] | 15.0401 | 1.5352e-09
1.06 | 0.019868 | 0.58 | 0.0033906 | [8 empty] | 2.464 | 6.3526e-08 | [10 empty] | 15.0901 | 1.2398e-09
1.066 | 0.019645 | 0.58199 | 0.0033734 | [8 empty] | 2.47 | 6.1145e-08 | [10 empty] | 15.1399 | 1.0404e-09
1.072 | 0.019955 | 0.584 | 0.0033427 | [8 empty] | 2.476 | 6.0035e-08 | [10 empty] | 15.1899 | 9.6263e-10
1.078 | 0.020176 | 0.58599 | 0.0032981 | [8 empty] | 2.482 | 5.865e-08 | [10 empty] | 15.24 | 9.4763e-10
1.084 | 0.020134 | 0.588 | 0.0032546 | [8 empty] | 2.488 | 5.7333e-08 | [10 empty] | 15.2901 | 8.8174e-10
|  | 0.59001 | 0.0032085 | [8 empty] | 2.494 | 5.658e-08 | [10 empty] | 15.34 | 7.812e-10
|  | 0.592 | 0.0031588 | [8 empty] | 2.5 | 5.6608e-08 | [10 empty] | 15.39 | 7.0739e-10
|  | 0.59399 | 0.0031122 | [8 empty] | 2.506 | 5.3712e-08 | [10 empty] | 15.4401 | 7.3991e-10
|  | 0.596 | 0.0030726 | [8 empty] | 2.512 | 5.0921e-08 | [10 empty] | 15.4901 | 7.7955e-10
|  | 0.598 | 0.0030462 | [8 empty] | 2.518 | 4.7401e-08 | [10 empty] | 15.5401 | 7.5582e-10
|  | 0.59999 | 0.0030264 | [8 empty] | 2.524 | 4.6679e-08 | [10 empty] | 15.5901 | 7.4177e-10
|  | 0.60199 | 0.0030333 | [8 empty] | 2.53 | 3.9484e-08 | [10 empty] | 15.6399 | 6.9215e-10
|  | 0.604 | 0.0030376 | [8 empty] | 2.536 | 3.6968e-08 | [10 empty] | 15.69 | 6.5281e-10
|  | 0.606 | 0.0030348 | [8 empty] | 2.542 | 3.4504e-08 | [10 empty] | 15.74 | 5.9067e-10
|  | 0.60801 | 0.0030198 | [8 empty] | 2.548 | 2.788e-08 | [10 empty] | 15.7902 | 6.1516e-10
|  | 0.61 | 0.0029906 | [8 empty] | 2.554 | 3.36e-08 | [10 empty] | 15.8399 | 6.3823e-10
|  | 0.61199 | 0.0029469 | [8 empty] | 2.56 | 2.3904e-08 | [10 empty] | 15.8898 | 6.2437e-10
|  | 0.61401 | 0.0029021 | [8 empty] | 2.566 | 1.7345e-08 | [10 empty] | 15.9399 | 5.7843e-10
|  | 0.616 | 0.0028457 | [8 empty] | 2.572 | 1.7866e-08 | [10 empty] | 15.9902 | 5.069e-10
|  | 0.618 | 0.0028102 | [8 empty] | 2.578 | 1.7254e-08 | [10 empty] | 16.0401 | 5.5673e-10
|  | 0.62001 | 0.0027686 | [8 empty] | 2.584 | 1.2141e-08 | [10 empty] | 16.0902 | 4.9552e-10
|  | 0.622 | 0.0027257 | [8 empty] | 2.59 | 1.0766e-08 | [10 empty] | 16.1401 | 4.4662e-10
|  | 0.624 | 0.0026946 | [8 empty] | 2.596 | 1.0683e-08 | [10 empty] | 16.1902 | 3.2751e-10
|  | 0.626 | 0.0026706 | [8 empty] | 2.602 | 1.0579e-08
|  | 0.628 | 0.0026569 | [8 empty] | 2.608 | 8.3039e-09
|  | 0.63 | 0.002656 | [8 empty] | 2.614 | 9.949e-09
|  | 0.63201 | 0.0026384 | [8 empty] | 2.62 | 1.0057e-08
|  | 0.63399 | 0.0026132 | [8 empty] | 2.626 | 1.4135e-08
|  | 0.636 | 0.0025733 | [8 empty] | 2.632 | 1.0321e-08
|  | 0.638 | 0.0025261 | [8 empty] | 2.638 | 2.5794e-08
|  | 0.64 | 0.0024771 | [8 empty] | 2.644 | 2.1891e-08
|  | 0.642 | 0.0024232 | [8 empty] | 2.65 | 2.1213e-08
|  | 0.64401 | 0.0023806 | [8 empty] | 2.656 | 1.4137e-08
|  | 0.646 | 0.0023314 | [8 empty] | 2.662 | 7.3711e-09
|  | 0.64801 | 0.0022865 | [8 empty] | 2.668 | 2.2043e-09
|  | 0.65 | 0.0022357 | [8 empty] | 2.674 | 2.7243e-09
|  | 0.65201 | 0.0021959 | [8 empty] | 2.68 | 3.9735e-09
|  | 0.65399 | 0.0021535 | [8 empty] | 2.686 | 7.1364e-09
|  | 0.656 | 0.0021018 | [8 empty] | 2.692 | 8.826e-09
|  | 0.658 | 0.0020104 | [8 empty] | 2.698 | 9.3881e-09
|  | 0.66 | 0.0020242 | [8 empty] | 2.704 | 1.3214e-08
|  | 0.66201 | 0.0021823 | [8 empty] | 2.71 | 7.0799e-09
|  | 0.66399 | 0.0023386 | [8 empty] | 2.716 | 9.9534e-09
|  | 0.666 | 0.002513 | [8 empty] | 2.722 | 3.8625e-09
|  | 0.66799 | 0.00269 | [8 empty] | 2.728 | 1.362e-08
|  | 0.67001 | 0.0028962 | [8 empty] | 2.734 | 1.2339e-08
|  | 0.67199 | 0.0030826 | [8 empty] | 2.74 | 4.057e-09
|  | 0.67401 | 0.0032742 | [8 empty] | 2.746 | 9.461e-09
|  | 0.676 | 0.0034359 | [8 empty] | 2.752 | 7.1206e-09
|  | 0.678 | 0.0036063 | [8 empty] | 2.758 | 4.7421e-09
|  | 0.68 | 0.0037424 | [8 empty] | 2.764 | 3.7019e-09
|  | 0.68199 | 0.0038528 | [8 empty] | 2.77 | 3.7811e-09
|  | 0.68399 | 0.0039246 | [8 empty] | 2.776 | 5.7768e-09
|  | 0.686 | 0.0039498 | [8 empty] | 2.782 | 4.7648e-09
|  | 0.688 | 0.0039189 | [8 empty] | 2.788 | 4.8024e-09
|  | 0.68999 | 0.0038614 | [8 empty] | 2.7944 | 8.1275e-09
|  | 0.69199 | 0.003771 | [8 empty] | 2.8 | 7.5109e-09
|  | 0.69401 | 0.0036827 | [8 empty] | 2.806 | 4.5343e-09
|  | 0.69599 | 0.0035726 | [8 empty] | 2.812 | 8.1758e-09
|  | 0.69801 | 0.0034672 | [8 empty] | 2.818 | 6.9968e-09
|  | 0.70001 | 0.0033428 | [8 empty] | 2.824 | 7.3907e-09
|  | 0.70201 | 0.003246 | [8 empty] | 2.83 | 9.2796e-09
|  | 0.70399 | 0.0031647 | [8 empty] | 2.836 | 6.2729e-09
|  | 0.70599 | 0.0030892 | [8 empty] | 2.842 | 7.6958e-09
|  | 0.70799 | 0.0030295 | [8 empty] | 2.848 | 8.5247e-09
|  | 0.71 | 0.0029661 | [8 empty] | 2.854 | 6.6495e-09
|  | 0.71199 | 0.0028939 | [8 empty] | 2.86 | 7.5113e-09
|  | 0.714 | 0.0028083 | [8 empty] | 2.866 | 8.4591e-09
|  | 0.71601 | 0.0027186 | [8 empty] | 2.872 | 7.434e-09
|  | 0.718 | 0.0026086 | [8 empty] | 2.878 | 8.1255e-09
|  | 0.72 | 0.002529 | [8 empty] | 2.884 | 8.167e-09
|  | 0.722 | 0.0024398 | [8 empty] | 2.89 | 7.4939e-09
|  | 0.72399 | 0.00236 | [8 empty] | 2.896 | 8.0343e-09
|  | 0.726 | 0.0022902 | [8 empty] | 2.902 | 6.7476e-09
|  | 0.72801 | 0.0022309 | [8 empty] | 2.908 | 7.114e-09
|  | 0.73001 | 0.0021805 | [8 empty] | 2.914 | 7.2872e-09
|  | 0.73201 | 0.0021409 | [8 empty] | 2.92 | 6.9398e-09
|  | 0.73399 | 0.0020979 | [8 empty] | 2.926 | 6.1417e-09
|  | 0.73601 | 0.002064 | [8 empty] | 2.932 | 6.8756e-09

## Calc RSO B Summary
The following calculations were made using:
Calc RSO B = (RSOB_old/RSOA_old)*RSOA
where "_old" denotes data from J. Nixt's SpMA compliance report and RSOA is the recent data taken during SpMA calibriation for FP-15/16 nominal testing.
Row A |  | Row B |  | Row C |  | Row D |  | Row E |  | Row F |  | Row G |  | Row H |  | Row I |  | Row J |  | Row K |  | Row L |  | Row M
Window | SiO2 | Window | SiO2 | Window | SiO2 | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe | Window | ZnSe
Det | Si | Det | Si | Det | Si | Det | Pyro | Det | Si | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro | Det | Pyro
Grat | 1 | Grat | 1 | Grat | 1 | Grat | 1 | Grat | 2 | Grat | 2 | Grat | 2 | Grat | 2 | Grat | 3 | Grat | 3 | Grat | 4 | Grat | 4 | Grat | 4
SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000 | SlitA | 2000
SlitB | 1712 | SlitB | 586 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1712 | SlitB | 1076
SlitC | 2000 | SlitC | 770 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 2000 | SlitC | 1258
O.F. | 5 | O.F. | 5 | O.F. | 2 | O.F. | 2 | O.F. | 7 | O.F. | 7 | O.F. | 8 | O.F. | 4 | O.F. | 12 | O.F. | 10 | O.F. | 11 | O.F. | 16 | O.F. | 16
Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calculated RSO B | Wavelength (nm) | Calc RSO B | Wavelength (nm) | Calc RSO B | Wavelength (nm) | Calc RSO B | Wavelength (nm) | Calc RSO B | Wavelength (nm) | Calc RSO B | Wavelength (nm) | Calc RSO B
345.992 | 0.013779 | 342.0116 | 0.0015664 | 606.0023 | 0.19501 | 1025.9919 | 0.016619 | 990.0214 | 3.2001e-06 | 1012.0275 | 0.00029376 | 1750.0082 | 0.003901 | 2244.0154 | 0.00098816 | 2819.9675 | 4.3941e-05 | 5130.0475 | 0.022667 | 6819.9037 | 0.0083911 | 9140.0872 | 0.042572 | 9140.0872 | 0.01692
352.0085 | 0.016421 | 343.9938 | 0.0016911 | 611.9918 | 0.27441 | 1031.9983 | 0.016995 | 1002.0184 | 4.4751e-06 | 1023.9835 | 0.00062836 | 1756.0139 | 0.0050221 | 2256.0169 | 0.0013527 | 2870.0978 | 0.00046693 | 5179.9403 | 0.023479 | 6899.893 | 0.013298 | 9219.9876 | 0.042872 | 9190.1584 | 0.016551
358.0085 | 0.018583 | 345.992 | 0.0018057 | 618.0026 | 0.31274 | 1038.0005 | 0.017126 | 1014.027 | 3.7504e-06 | 1035.987 | 0.00079598 | 1762.021 | 0.0063659 | 2267.9972 | 0.0019339 | 2920.0479 | 0.0037681 | 5229.9188 | 0.022813 | 6980.0115 | 0.014713 | 9300.1022 | 0.042311 | 9239.9954 | 0.015837
364 | 0.020302 | 347.9963 | 0.0019225 | 624.002 | 0.32496 | 1044.002 | 0.017217 | 1026.0211 | 3.4871e-06 | 1048.0201 | 0.00041851 | 1768.0055 | 0.0079675 | 2279.9952 | 0.0027606 | 2970.063 | 0.014104 | 5280.0545 | 0.025583 | 7060.1153 | 0.018719 | 9379.9522 | 0.040629 | 9289.8364 | 0.015308
370.0094 | 0.022961 | 349.9958 | 0.0020299 | 629.9965 | 0.32732 | 1049.9893 | 0.017546 | 1037.9759 | 3.0246e-06 | 1059.9757 | 0.00012516 | 1774.0043 | 0.0099752 | 2292.0129 | 0.004042 | 3019.9484 | 0.01978 | 5329.9984 | 0.028279 | 7139.9922 | 0.01811 | 9460.0333 | 0.039041 | 9339.8238 | 0.015637
376.002 | 0.026752 | 352.0085 | 0.0021341 | 635.9968 | 0.32266 | 1055.9988 | 0.017906 | 1050.0108 | 5.5899e-06 | 1072.003 | 0.00046741 | 1779.9917 | 0.01231 | 2304.0146 | 0.0060169 | 3069.9479 | 0.020486 | 5380.084 | 0.02874 | 7219.9505 | 0.020057 | 9540.041 | 0.037848 | 9390.0094 | 0.015088
381.9998 | 0.031354 | 353.9981 | 0.0022322 | 641.9972 | 0.31434 | 1061.9955 | 0.018084 | 1062.024 | 5.3586e-06 | 1083.9805 | 0.00086184 | 1786.0172 | 0.015084 | 2315.9938 | 0.0086627 | 3120.097 | 0.02008 | 5430.0207 | 0.021833 | 7299.8333 | 0.020627 | 9619.966 | 0.03665 | 9440.1484 | 0.01484
388.004 | 0.036978 | 355.9888 | 0.0023282 | 648.0089 | 0.30281 | 1067.9937 | 0.01811 | 1074.0159 | 3.2174e-06 | 1095.9747 | 0.00046314 | 1792.007 | 0.018493 | 2328.013 | 0.01262 | 3169.9311 | 0.022543 | 5480.0427 | 0.021183 | 7379.9162 | 0.025555 | 9700.1005 | 0.03576 | 9490.0001 | 0.0145
393.9895 | 0.043516 | 358.0085 | 0.002422 | 653.9939 | 0.28563 | 1074.0104 | 0.0186 | 1086.021 | 2.9342e-06 | 1107.9772 | 0.00058595 | 1798.0028 | 0.022386 | 2339.9927 | 0.01787 | 3219.9444 | 0.022731 | 5530.0369 | 0.020749 | 7459.8924 | 0.027009 | 9780.1328 | 0.034319 | 9540.041 | 0.014085
400.0021 | 0.051739 | 360.0091 | 0.0025102 | 659.9977 | 0.27578 | 1080.0041 | 0.018853 | 1098.023 | 5.2644e-06 | 1119.9944 | 0.00024336 | 1803.9867 | 0.025691 | 2351.9922 | 0.023374 | 3270.0477 | 0.023636 | 5579.9147 | 0.013813 | 7540.0979 | 0.031872 | 9859.8847 | 0.032955 | 9589.9962 | 0.01417
406.0092 | 0.061929 | 362.002 | 0.0025956 | 666.0048 | 0.34102 | 1085.9987 | 0.018856 | 1109.9942 | 2.8598e-05 | 1132.0024 | 7.3176e-05 | 1809.978 | 0.028043 | 2364.0018 | 0.028737 | 3320.0251 | 0.024769 | 5630.0664 | 0.012262 | 7620.0313 | 0.034214 | 9940.0998 | 0.031117 | 9640.1285 | 0.014261
412.0089 | 0.073997 | 364 | 0.0026844 | 671.9869 | 0.42665 | 1092.006 | 0.018919 |  |  | 1143.9959 | 0.00014735 | 1815.9983 | 0.029163 | 2375.9961 | 0.033121 | 3369.9714 | 0.026409 | 5679.9459 | 0.012069 | 7700.1041 | 0.039869 | 10019.849 | 0.029901 | 9690.0071 | 0.014433
418.0119 | 0.087117 | 365.9875 | 0.0027745 | 678.0019 | 0.49826 | 1097.9953 | 0.019288 |  |  | 1156.005 | 0.0014241 | 1821.9835 | 0.030553 | 2387.9939 | 0.035057 | 3420.0944 | 0.027945 | 5730.0988 | 0.0061689 | 7779.9905 | 0.041169 | 10100.185 | 0.028767 | 9740.0502 | 0.014176
424.0077 | 0.10055 | 367.9992 | 0.0028832 | 683.9949 | 0.53166 | 1104.0076 | 0.01943 |  |  | 1168.0009 | 0.04858 | 1827.9974 | 0.032334 | 2399.9829 | 0.035612 | 3470.0719 | 0.028174 | 5779.9307 | 0.0096282 | 7859.9308 | 0.039796 | 10179.876 | 0.028431 | 9790.1021 | 0.013462
430.0092 | 0.11379 | 370.0094 | 0.0030086 | 689.9937 | 0.52299 | 1110.0095 | 0.019227 |  |  | 1180.0184 | 0.16304 | 1833.9896 | 0.032107 | 2412.0116 | 0.035296 | 3519.9483 | 0.02792 | 5829.9415 | 0.0066789 | 7940.0688 | 0.041935 | 10259.908 | 0.027737 | 9840.0063 | 0.013649
436.0094 | 0.12713 | 371.986 | 0.0031344 | 695.9943 | 0.49505 | 1115.9977 | 0.019135 |  |  | 1191.9995 | 0.20546 | 1839.9865 | 0.032521 | 2423.9911 | 0.03488 | 3570.0314 | 0.028029 | 5880.0948 | 0.0035188 | 8019.788 | 0.043305 | 10340.143 | 0.026698 | 9889.9082 | 0.012949
441.9937 | 0.1406 | 374.0058 | 0.0032931 | 702.0127 | 0.45809 | 1121.995 | 0.018859 |  |  | 1203.9954 | 0.23751 | 1845.9907 | 0.035633 | 2435.9857 | 0.033171 | 3619.9782 | 0.030365 | 5929.9066 | 0.0043777 | 8099.9464 | 0.043546 | 10419.801 | 0.025855 | 9940.0998 | 0.012397
447.9895 | 0.15219 | 376.002 | 0.0034579 | 707.9893 | 0.4234 | 1127.9982 | 0.018955 |  |  | 1216.0058 | 0.26735 | 1851.9968 | 0.039095 | 2448.0123 | 0.032359 | 3670.0366 | 0.030992 | 5980.0288 | 0.0053036 | 8180.1394 | 0.044334 | 10500.111 | 0.024367 | 9990.0465 | 0.012368
453.9935 | 0.16878 | 377.992 | 0.0036302 | 714.0024 | 0.38898 | 1134.0073 | 0.018619 |  |  | 1227.9808 | 0.27669 | 1857.9805 | 0.042375 | 2459.995 | 0.032604 | 3719.8999 | 0.03074 | 6029.935 | 0.0063361 | 8259.829 | 0.045952 | 10579.884 | 0.022422 | 10039.821 | 0.012112
459.9991 | 0.18878 | 379.9939 | 0.0038164 | 720.0041 | 0.35666 | 1139.9993 | 0.019596 |  |  | 1240.0195 | 0.28448 | 1863.9982 | 0.043231 | 2472.0133 | 0.030595 | 3769.9844 | 0.03127 | 6079.9685 | 0.0046135 | 8340.0169 | 0.046559 | 10660.012 | 0.020917 | 10089.837 | 0.012064
465.9989 | 0.21291 | 381.9998 | 0.0040331 | 725.9979 | 0.32665 | 1146.0042 | 0.019333 |  |  | 1252.009 | 0.29128 | 1870.0201 | 0.038986 | 2484.0079 | 0.0296 | 3819.9413 | 0.031207 | 6129.9887 | 0.0074032 | 8420.0497 | 0.046954 | 10740.069 | 0.020167 | 10139.92 | 0.012109
472.0087 | 0.23815 | 384.0058 | 0.0042874 | 732.0114 | 0.3029 | 1152.0049 | 0.019182 |  |  | 1264.0253 | 0.29161 | 1876.004 | 0.043012 | 2495.9994 | 0.029223 | 3869.9173 | 0.031589 | 6179.9123 | 0.0070145 | 8499.9026 | 0.046458 | 10820.022 | 0.019619 | 10190.16 | 0.012241
478.0023 | 0.26191 | 385.9867 | 0.0045645 | 738.0124 | 0.27938 | 1158.0003 | 0.019703 |  |  | 1276.0207 | 0.29001 | 1881.9941 | 0.053703 | 2507.9929 | 0.027287 | 3920.034 | 0.030154 | 6229.9273 | 0.012375 | 8579.9391 | 0.046779 | 10900.043 | 0.018911 | 10240.104 | 0.012274
484.0095 | 0.28322 | 388.004 | 0.0048631 | 744.01 | 0.25801 | 1164.001 | 0.019973 |  |  | 1288.0193 | 0.29279 | 1887.979 | 0.057668 | 2520.0092 | 0.024518 | 3969.9072 | 0.030293 | 6280.0835 | 0.013965 | 8660.1718 | 0.046652 | 10979.95 | 0.01889 | 10289.894 | 0.012149
489.9879 | 0.3009 | 389.9885 | 0.0051601 | 750.0073 | 0.23714 | 1170.0003 | 0.019732 |  |  | 1299.9844 | 0.30016 | 1893.9812 | 0.057137 | 2531.9884 | 0.019319 | 4019.9896 | 0.030148 | 6330.0392 | 0.009579 | 8739.9952 | 0.047085 | 11060.07 | 0.018249 | 10340.143 | 0.011853
496.0095 | 0.31798 | 392.0069 | 0.0054663 | 755.9981 | 0.21834 | 1176.0099 | 0.019867 |  |  | 1311.9977 | 0.29132 | 1900.0118 | 0.052201 | 2543.9889 | 0.0165 | 4069.9367 | 0.029506 | 6380.0588 | 0.0046346 | 8820.1982 | 0.046465 | 11140.187 | 0.017203 | 10390.103 | 0.011399
501.991 | 0.3306 | 393.9895 | 0.0057574 | 762.0045 | 0.19997 | 1181.9933 | 0.020049 |  |  | 1323.9964 | 0.29106 | 1905.9984 | 0.050799 | 2555.9923 | 0.017748 | 4119.9976 | 0.028871 | 6430.0018 | 0.0026105 | 8899.9827 | 0.045771 | 11219.933 | 0.01661 | 10440.042 | 0.010738
507.997 | 0.34152 | 395.9969 | 0.0060673 | 768.0013 | 0.1863 | 1188.0087 | 0.01968 |  |  | 1335.9896 | 0.31028 | 1912.0215 | 0.053227 | 2568.0143 | 0.0094632 | 4170.0432 | 0.026578 | 6479.9152 | 0.0017624 | 8979.8719 | 0.044526 | 11300.141 | 0.016216 | 10489.908 | 0.010428
513.9909 | 0.34953 | 398.0027 | 0.0063606 | 774.0105 | 0.17133 | 1194 | 0.019719 |  |  | 1348.0172 | 0.30717 | 1917.9821 | 0.055543 | 2580.0114 | 0.0082863 | 4219.942 | 0.0046501 | 6529.9456 | 0.0026719 | 9059.9744 | 0.043975 | 11379.852 | 0.015736 | 10540.078 | 0.009966
519.9886 | 0.35881 | 400.0021 | 0.0066989 | 779.9897 | 0.1574 | 1199.9983 | 0.019856 |  |  | 1359.9972 | 0.23979 | 1924.0167 | 0.059046 | 2592.0019 | 0.0050011 | 4269.9704 | 0.0006606 | 6579.9641 | 0.0013513 | 9140.0872 | 0.041752 | 11459.918 | 0.015152 | 10590.037 | 0.0095782
525.9883 | 0.3684 | 401.9865 | 0.0070816 | 786.0101 | 0.14662 | 1205.9935 | 0.019804 |  |  | 1372.0213 | 0.24502 | 1929.9838 | 0.062904 | 2604.0143 | 0.0043643 | 4320.0396 | 0.0072909 | 6630.0465 | 0.0019196 | 9219.9876 | 0.040793 | 11539.951 | 0.014542 | 10639.908 | 0.0091896
531.9891 | 0.375 | 404.0021 | 0.0074937 | 791.9894 | 0.13618 | 1212.0072 | 0.019516 |  |  | 1383.9876 | 0.24337 | 1935.9849 | 0.065958 | 2615.9846 | 0.0041652 | 4369.9175 | 0.025137 | 6679.9595 | 0.0036429 | 9300.1022 | 0.040551 | 11620.175 | 0.013759 | 10689.879 | 0.0088404
538.0072 | 0.38013 | 406.0092 | 0.007942 | 798.0003 | 0.12637 | 1217.9907 | 0.019742 |  |  | 1396.0171 | 0.2596 | 1941.9817 | 0.068843 | 2628.0142 | 0.0057871 | 4420.0527 | 0.029664 | 6729.9745 | 0.0061256 | 9379.9522 | 0.03839 | 11700.176 | 0.013541 | 10740.069 | 0.0085627
543.9978 | 0.38376 | 407.9981 | 0.008405 | 804.0026 | 0.11767 | 1224.0035 | 0.019543 |  |  | 1407.9798 | 0.2679 | 1948.0024 | 0.072724 | 2639.9905 | 0.013374 | 4469.9612 | 0.030901 | 6780.0777 | 0.0042502 | 9460.0333 | 0.03686 | 11780.179 | 0.013368 | 10790.003 | 0.0083502
549.9985 | 0.38805 | 409.9899 | 0.0089456 | 809.9884 | 0.11179 | 1230.0003 | 0.019124 |  |  | 1419.9804 | 0.29166 | 1954.0044 | 0.074993 | 2651.9862 | 0.0097106 | 4519.9853 | 0.030488 | 6829.9569 | 0.0052652 | 9540.041 | 0.037075 | 11859.792 | 0.012275 | 10840.156 | 0.0083114
555.9879 | 0.38956 | 412.0089 | 0.0096146 | 816.0076 | 0.10665 |  |  |  |  | 1432.0178 | 0.31286 | 1959.9888 | 0.075947 | 2664.0136 | 0.0024703 | 4570.0881 | 0.02797 | 6880.087 | 0.0045856 | 9619.966 | 0.036785 | 11940.039 | 0.011702 | 10889.964 | 0.008177
562.01 | 0.39171 | 414.0034 | 0.010243 | 821.9916 | 0.10247 |  |  |  |  | 1444.0128 | 0.32084 | 1966.0178 | 0.076743 | 2675.9879 | 0.0013494 | 4620.1033 | 0.024345 | 6929.9702 | 0.0084901 | 9700.1005 | 0.03589 | 12020.175 | 0.011499 | 10939.873 | 0.0080633
567.9863 | 0.39042 | 416.0093 | 0.010899 | 828.0032 | 0.1002 |  |  |  |  | 1456.0009 | 0.32342 | 1971.9853 | 0.076871 | 2688.0143 | 0.00456 | 4670.1056 | 0.021123 | 6980.0785 | 0.0058808 | 9780.1328 | 0.033757 | 12099.929 | 0.011002 | 10989.971 | 0.0079488
574.0031 | 0.39012 | 418.0119 | 0.011535 | 833.997 | 0.10105 |  |  |  |  | 1468.0064 | 0.31603 | 1977.9961 | 0.076626 | 2699.9871 | 0.0057987 | 4719.9009 | 0.019197 | 7030.0207 | 0.0052146 | 9859.8847 | 0.032876 | 12179.879 | 0.010884 | 11040.132 | 0.0079042
579.9964 | 0.38806 | 419.9975 | 0.012104 | 839.9894 | 0.10207 |  |  |  |  | 1480.0241 | 0.32027 | 1984.001 | 0.07583 | 2711.9999 | 0.003946 | 4770.0049 | 0.017945 | 7079.9597 | 0.0077029 | 9940.0998 | 0.031941 | 12259.896 | 0.010494 | 11090.174 | 0.0077577
585.9896 | 0.38495 | 422.0034 | 0.012668 | 845.997 | 0.10412 |  |  |  |  | 1491.9925 | 0.3307 | 1990.0026 | 0.075069 | 2724.0067 | 0.0023618 | 4820.0618 | 0.017792 | 7129.9499 | 0.0061524 | 10019.849 | 0.030283 | 12339.857 | 0.010113 | 11140.187 | 0.007543
591.9993 | 0.37953 | 424.0077 | 0.013182 | 852.0058 | 0.10789 |  |  |  |  | 1504.0214 | 0.33638 | 1995.9892 | 0.074176 | 2735.9852 | 0.0044644 | 4869.9599 | 0.017765 | 7180.0324 | 0.0052668 |  |  | 12420.147 | 0.010001 | 11190.012 | 0.0072332
598.0049 | 0.37444 | 426.0099 | 0.013678 | 857.9974 | 0.11408 |  |  |  |  | 1516.0149 | 0.33741 | 2002.0176 | 0.072969 | 2748.0044 | 0.005451 | 4920.1002 | 0.017769 | 7229.946 | 0.0073805 |  |  | 12499.968 | 0.0096505 | 11239.967 | 0.007147
604.0031 | 0.37031 | 428.0041 | 0.014249 | 863.9915 | 0.1208 |  |  |  |  | 1527.9947 | 0.33879 | 2008.0022 | 0.072097 | 2759.9974 | 0.0025116 | 4969.9525 | 0.017306 | 7280.0037 | 0.0055465 |  |  | 12579.937 | 0.009264 | 11290.169 | 0.0070668
609.9992 | 0.36437 | 430.0092 | 0.01479 | 870.0015 | 0.12928 |  |  |  |  | 1539.9981 | 0.34033 | 2013.9801 | 0.070998 | 2772.0066 | 0.0024364 | 5020.0771 | 0.017443 | 7330.0905 | 0.0058716 |  |  | 12660.008 | 0.0091957 | 11339.891 | 0.0069316
616.0001 | 0.35779 | 431.9861 | 0.015274 | 875.9979 | 0.13874 |  |  |  |  | 1552.0115 | 0.33593 | 2019.9859 | 0.070173 | 2783.9859 | 0.0024697 | 5069.9346 | 0.018771 | 7380.0229 | 0.0076731 |  |  | 12740.015 | 0.0087231 | 11390.158 | 0.0068079
622.0015 | 0.34991 | 434.0081 | 0.015875 | 881.9986 | 0.14974 |  |  |  |  | 1564.0208 | 0.32654 | 2026.015 | 0.069311 | 2796.0102 | 0.004318 | 5120.0979 | 0.018631 | 7430.0104 | 0.0076503 |  |  | 12819.883 | 0.008614 | 11440.166 | 0.0069168
627.998 | 0.34319 | 436.0094 | 0.016423 | 887.997 | 0.16098 |  |  |  |  | 1576.0123 | 0.32003 | 2031.9856 | 0.06853 | 2807.9874 | 0.0027161 | 5170.0007 | 0.018684 | 7480.0005 | 0.0056451 |  |  | 12900.063 | 0.0083652 | 11489.79 | 0.0068291
633.9947 | 0.33523 | 438.0118 | 0.0171 | 893.9899 | 0.1729 |  |  |  |  | 1588.0178 | 0.32239 | 2038.0196 | 0.067758 | 2819.9998 | 0.0032552 | 5220.0532 | 0.017001 | 7530.005 | 0.0077448 |  |  | 12980.118 | 0.0080929 | 11539.951 | 0.0066474
639.9987 | 0.32566 | 439.9871 | 0.017734 | 899.9891 | 0.18483 |  |  |  |  | 1599.996 | 0.32469 | 2043.9963 | 0.067081 | 2832.0118 | 0.0044093 | 5269.9864 | 0.018711 | 7579.9813 | 0.0057849 |  |  | 13059.903 | 0.0077722 | 11589.987 | 0.0065361
646.0009 | 0.31386 | 441.9937 | 0.018498 | 906.0081 | 0.19892 |  |  |  |  | 1611.9892 | 0.32433 | 2050.0046 | 0.066397 | 2843.9975 | 0.0044799 | 5320.0466 | 0.021968 | 7630.0677 | 0.0065682 |  |  | 13139.872 | 0.0074891 | 11640.095 | 0.0063656
652.0101 | 0.29857 | 443.9877 | 0.019113 | 911.9899 | 0.21167 |  |  |  |  | 1623.9981 | 0.31811 | 2056.0072 | 0.065542 | 2855.9885 | 0.0033928 | 5370.0287 | 0.020406 | 7680.0551 | 0.0071242 |  |  | 13219.924 | 0.0070599 | 11689.906 | 0.0061655
658.0007 | 0.27676 | 446.0087 | 0.019616 | 917.9953 | 0.22502 |  |  |  |  | 1635.9848 | 0.31551 | 2061.9831 | 0.064682 | 2868.0086 | 0.0041855 | 5420.0882 | 0.016872 |  |  |  |  | 13299.984 | 0.0066854 | 11739.886 | 0.0058579
663.9934 | 0.32022 | 447.9895 | 0.020082 | 924.0092 | 0.23789 |  |  |  |  | 1648.0019 | 0.31123 | 2067.9879 | 0.063612 | 2880.0008 | 0.0042193 | 5470.0491 | 0.014399 |  |  |  |  | 13379.809 | 0.0063642 | 11789.955 | 0.0056635
670.0121 | 0.4056 | 449.9925 | 0.020737 | 930.0086 | 0.24834 |  |  |  |  | 1659.9836 | 0.30693 | 2073.9869 | 0.062908 | 2892.0037 | 0.0037825 | 5520.1009 | 0.01473 |  |  |  |  | 13460.156 | 0.0058491 | 11839.817 | 0.0057155
676.0048 | 0.48587 | 451.9946 | 0.02137 | 936.0023 | 0.25661 |  |  |  |  | 1672.0223 | 0.30306 | 2079.9998 | 0.062125 | 2904.0035 | 0.00324 | 5569.9333 | 0.0093103 |  |  |  |  | 13539.964 | 0.0056082 | 11889.822 | 0.0056135
681.9893 | 0.53485 | 453.9935 | 0.021973 | 941.9999 | 0.27147 |  |  |  |  | 1683.979 | 0.30185 | 2086.0202 | 0.061357 | 2915.9931 | 0.0035979 | [6 empty] | 13619.987 | 0.0052283 | 11940.039 | 0.0055571
687.9981 | 0.53663 | 456.0101 | 0.022723 | 947.9903 | 0.28129 |  |  |  |  | 1696.0071 | 0.29677 | 2091.9983 | 0.060456 | 2928.0075 | 0.0032221 | [6 empty] | 13699.882 | 0.0048794 | 11990.177 | 0.0054512
694.0117 | 0.51421 | 458.0064 | 0.023518 | 954.0051 | 0.29259 |  |  |  |  | 1708.0182 | 0.28886 | 2098.0044 | 0.059757 | 2940.0048 | 0.0031602 | [6 empty] | 13779.98 | 0.0047231 | 12039.959 | 0.0051747
700.007 | 0.47799 | 459.9991 | 0.024363 | 959.9962 | 0.30246 |  |  |  |  | 1720.0027 | 0.27853 | 2104.0157 | 0.058868 | [8 empty] | 13860.11 | 0.0040244 | 12090.147 | 0.0050442
705.9891 | 0.44075 | 462.0052 | 0.025359 | 966.0085 | 0.31084 |  |  |  |  | 1732.0242 | 0.27355 | 2109.9798 | 0.057716 | [8 empty] | 13939.977 | 0.0041049 | 12140.022 | 0.0047564
711.9939 | 0.40629 | 463.9884 | 0.026336 | 972.0013 | 0.31779 |  |  |  |  | 1743.9867 | 0.26815 | 2116.0064 | 0.056932 | [8 empty] | 14020.148 | 0.0039498 | 12189.953 | 0.0047112
717.9967 | 0.37244 | 465.9989 | 0.027579 | 978.0027 | 0.32223 |  |  |  |  | 1756.0139 | 0.26324 | 2122.0107 | 0.05623 | [8 empty] | 14099.912 | 0.0036372 | 12240.115 | 0.0044241
723.9913 | 0.34141 | 468.0094 | 0.029038 | 984.0045 | 0.32737 |  |  |  |  | 1768.0055 | 0.25768 | 2127.9981 | 0.055675 | [8 empty] | 14180.032 | 0.0032723 | 12290.064 | 0.0042767
730.0111 | 0.31513 | 470 | 0.030382 | 989.9981 | 0.33209 |  |  |  |  | 1779.9917 | 0.254 | 2133.9907 | 0.054898 | [8 empty] | 14259.888 | 0.0030393 | 12339.857 | 0.0041657
736.01 | 0.29155 | 472.0087 | 0.031725 | 995.9915 | 0.33114 |  |  |  |  | 1792.007 | 0.24417 | 2139.9896 | 0.054341 | [8 empty] | 14339.939 | 0.0025661 | 12389.998 | 0.0040435
742.0094 | 0.26925 | 473.996 | 0.032821 | 1002.0089 | 0.32463 |  |  |  |  | 1803.9867 | 0.22291 | 2146.0168 | 0.053544 | [8 empty] | 14420.093 | 0.0022647 | 12440.155 | 0.0038822
748.0082 | 0.24775 | 476.0003 | 0.033911 | 1007.989 | 0.32358 |  |  |  |  | 1815.9983 | 0.19487 | 2152.0068 | 0.052867 | [8 empty] | 14499.879 | 0.0018959 | 12489.89 | 0.0036608
753.9967 | 0.22766 | 478.0023 | 0.03472 | 1014.0085 | 0.31799 |  |  |  |  | 1827.9974 | 0.17588 | 2158.0072 | 0.052035 | [8 empty] | 14580.139 | 0.0018013 | 12540.068 | 0.0035674
760.002 | 0.20913 | 480.0034 | 0.035533 | 1019.9993 | 0.30898 |  |  |  |  | 1839.9865 | 0.14811 | 2164.0053 | 0.051368 | [8 empty] | 14659.925 | 0.0015742 | 12589.914 | 0.0035083
766.0092 | 0.1938 | 481.9993 | 0.036239 | 1025.9919 | 0.29787 |  |  |  |  | 1851.9968 | 0.15406 | 2170.0123 | 0.050807 | [8 empty] | 14740.183 | 0.0014413 | 12640.005 | 0.0034938
771.9999 | 0.17914 | 484.0095 | 0.036948 | 1031.9983 | 0.2868 |  |  |  |  | 1863.9982 | 0.15418 | 2175.9833 | 0.049961 | [8 empty] | 14819.909 | 0.0014745 | 12689.891 | 0.0033561
777.9898 | 0.16414 | 485.9951 | 0.037676 | 1038.0005 | 0.27015 |  |  |  |  | 1876.004 | 0.13773 | 2182.0154 | 0.049395 | [8 empty] | 14900 | 0.0009391 | 12740.015 | 0.0033172
784.0026 | 0.1527 | 488.0006 | 0.03839 | 1044.002 | 0.24992 |  |  |  |  | 1887.979 | 0.16956 | 2188.0001 | 0.048551 | [8 empty] | 14980.042 | 0.00095269 | 12790.046 | 0.0033059
790.005 | 0.14162 | 489.9879 | 0.038948 | 1049.9893 | 0.2315 |  |  |  |  | 1900.0118 | 0.14276 | 2193.9952 | 0.047846 | [8 empty] | 15060.149 | 0.0016262 | 12840.073 | 0.0031373
796.0087 | 0.13146 | 492.0043 | 0.039932 | 1055.9988 | 0.21009 |  |  |  |  | 1912.0215 | 0.13696 | 2199.9945 | 0.047191 | [8 empty] | 15139.883 | 0.0013426 | 12890.081 | 0.003178
802.0089 | 0.12254 | 493.9926 | 0.040764 | 1061.9955 | 0.18934 |  |  |  |  | 1924.0167 | 0.14449 | 2205.9822 | 0.046646 | [8 empty] | 15220.121 | 0.0012292 | 12940.189 | 0.0031959
807.9978 | 0.11545 | 496.0095 | 0.041907 | 1067.9937 | 0.17276 |  |  |  |  | 1935.9849 | 0.15518 | 2212.0154 | 0.046076 | [8 empty] | 15300.134 | 0.0011743 | 12990.013 | 0.0031789
814.0041 | 0.1098 | 498.0106 | 0.042858 | 1074.0104 | 0.16095 |  |  |  |  | 1948.0024 | 0.16465 | 2218.0172 | 0.045529 | [8 empty] | 15380.133 | 0.001102 | 13040.081 | 0.003137
819.9964 | 0.10529 | 500.0087 | 0.04371 | 1080.0041 | 0.1473 |  |  |  |  | 1959.9888 | 0.16675 | 2223.997 | 0.045102 | [8 empty] | 15459.982 | 0.0011694 | 13089.898 | 0.0031298
825.9954 | 0.10231 | 501.991 | 0.044166 | [6 empty] | 1971.9853 | 0.16665 | 2230.0134 | 0.044424 | [8 empty] | 15540.098 | 0.0011582 | 13139.872 | 0.003042
831.9994 | 0.10227 | 503.9941 | 0.0446 | [6 empty] | 1984.001 | 0.16341 | 2235.9911 | 0.043633 | [8 empty] | 15619.933 | 0.0011792 | 13190.076 | 0.0029775
837.9894 | 0.10298 | 505.9965 | 0.044813 | [6 empty] | 1995.9892 | 0.15934 | 2242.0091 | 0.042921 | [8 empty] | 15700.068 | 0.0011817 | 13239.868 | 0.0028507
843.9993 | 0.1049 | 507.997 | 0.044952 | [6 empty] | 2008.0022 | 0.15458 | 2248.0194 | 0.042436 | [8 empty] | 15779.84 | 0.0011995 | 13290.095 | 0.0027876
849.9889 | 0.10812 | 509.9892 | 0.045059 | [6 empty] | 2019.9859 | 0.14962 | 2254.005 | 0.042185 | [8 empty] | 15859.884 | 0.0013045 | 13340.164 | 0.0027152
855.9946 | 0.11377 | 511.9909 | 0.045244 | [6 empty] | 2031.9856 | 0.14609 | 2260.0052 | 0.041819 | [8 empty] | 15939.914 | 0.0011959 | 13390.028 | 0.002615
861.9923 | 0.12037 | 513.9909 | 0.045415 | [6 empty] | 2043.9963 | 0.1434 | 2266.0191 | 0.041201 | [8 empty] | 16020.072 | 0.0012089 | 13440.113 | 0.0025198
868.0016 | 0.12842 | 516.0052 | 0.045777 | [6 empty] | 2056.0072 | 0.14002 | 2272.0099 | 0.040434 | [8 empty] | 16100.104 | 0.001205 | 13489.837 | 0.0024774
874.0011 | 0.13755 | 517.9971 | 0.04614 | [6 empty] | 2067.9879 | 0.13617 | 2277.9875 | 0.039867 | [8 empty] | 16179.825 | 0.00091201 | 13539.964 | 0.0024122
879.9939 | 0.14874 | 519.9886 | 0.046746 | [6 empty] | 2079.9998 | 0.13274 | 2284.0026 | 0.039182 | [10 empty] | 13589.815 | 0.0023417
885.996 | 0.15972 | 522.006 | 0.047684 | [6 empty] | 2091.9983 | 0.1292 | 2289.9913 | 0.038837 | [10 empty] | 13640.035 | 0.0022095
892.0119 | 0.17175 | 524.002 | 0.048521 | [6 empty] | 2104.0157 | 0.12507 | 2295.9805 | 0.038538 | [10 empty] | 13690.078 | 0.0021364
897.9926 | 0.18375 | 525.9883 | 0.049138 | [6 empty] | 2116.0064 | 0.12152 | 2301.9889 | 0.038156 | [10 empty] | 13740.165 | 0.0021297
904.005 | 0.1977 | 528.0047 | 0.049637 | [6 empty] | 2127.9981 | 0.1196 | 2307.9902 | 0.037635 | [10 empty] | 13790.142 | 0.0020927
910.0081 | 0.21078 | 530.0113 | 0.049983 | [6 empty] | 2139.9896 | 0.11701 | 2314.0175 | 0.036999 | [10 empty] | 13839.866 | 0.0018763
915.9901 | 0.22458 | 531.9891 | 0.049923 | [6 empty] | 2152.0068 | 0.11366 | 2320.0062 | 0.036268 | [10 empty] | 13889.832 | 0.0016156
921.9949 | 0.2381 | 533.9932 | 0.049758 | [6 empty] | 2164.0053 | 0.11051 | 2326.0017 | 0.035794 | [10 empty] | 13939.977 | 0.0018075
928.0099 | 0.25034 | 535.9929 | 0.049857 | [6 empty] | 2175.9833 | 0.10733 | 2332.0142 | 0.035556 | [10 empty] | 13990.101 | 0.0017229
933.99 | 0.2566 | 538.0072 | 0.049883 | [6 empty] | 2188.0001 | 0.10326 | 2337.9837 | 0.035329 | [10 empty] | 14039.906 | 0.0016389
939.9928 | 0.2726 | 539.9974 | 0.049915 | [6 empty] | 2199.9945 | 0.099135 | 2344.0054 | 0.034909 | [10 empty] | 14090.176 | 0.0015555
946.0116 | 0.28247 | 542.007 | 0.050041 | [6 empty] | 2212.0154 | 0.095918 | 2350.0186 | 0.034203 | [10 empty] | 14139.996 | 0.0014076
951.9896 | 0.29427 | 543.9978 | 0.050062 | [6 empty] | 2223.997 | 0.092969 | 2356.0077 | 0.03363 | [10 empty] | 14190.143 | 0.0013087
957.9961 | 0.30393 | 545.9898 | 0.050325 | [6 empty] | 2235.9911 | 0.089002 | 2362.0175 | 0.033154 | [10 empty] | 14239.878 | 0.0012952
964.0026 | 0.31368 | 548.0067 | 0.05078 | [6 empty] | 2248.0194 | 0.086043 | 2367.9923 | 0.032683 | [10 empty] | 14289.956 | 0.0011799
969.9959 | 0.32123 | 549.9985 | 0.051458 | [6 empty] | 2260.0052 | 0.084382 | 2374.0108 | 0.032488 | [10 empty] | 14339.939 | 0.0010297
975.9911 | 0.32706 | 552.0012 | 0.052026 | [6 empty] | 2272.0099 | 0.081055 | 2380.0159 | 0.032085 | [10 empty] | 14389.818 | 0.00094544
981.9901 | 0.3316 | 554.0019 | 0.052414 | [6 empty] | 2284.0026 | 0.078245 | 2385.9999 | 0.031529 | [10 empty] | 14439.95 | 0.00091667
988.0001 | 0.33543 | 555.9879 | 0.052495 | [6 empty] | 2295.9805 | 0.076767 | 2391.9879 | 0.030965 | [10 empty] | 14490.183 | 0.00078683
993.9898 | 0.33737 | 557.9958 | 0.052509 | [6 empty] | 2307.9902 | 0.074007 | 2398.0144 | 0.030476 | [10 empty] | 14539.855 | 0.00073263
999.9942 | 0.33207 | 560.0037 | 0.052257 | [6 empty] | 2320.0062 | 0.066614 | 2403.9909 | 0.02995 | [10 empty] | 14590.193 | 0.00075972
1006.0056 | 0.32928 | 562.01 | 0.051902 | [6 empty] | 2332.0142 | 0.067781 | 2410.0093 | 0.029651 | [10 empty] | 14639.832 | 0.00066704
1012.0069 | 0.32655 | 564.0072 | 0.051535 | [6 empty] | 2344.0054 | 0.096123 | 2415.9911 | 0.029049 | [10 empty] | 14689.815 | 0.00061137
1018.0048 | 0.31906 | 566.0124 | 0.051419 | [8 empty] | 2421.9913 | 0.028811 | [10 empty] | 14740.183 | 0.0006096
1024.0068 | 0.30613 | 567.9863 | 0.051101 | [8 empty] | 2428.0151 | 0.028439 | [10 empty] | 14790.1 | 0.00061777
1030.0059 | 0.29685 | 569.9997 | 0.050999 | [8 empty] | 2433.9957 | 0.027388 | [10 empty] | 14839.924 | 0.00067601
1036.0109 | 0.28148 | 571.9891 | 0.050975 | [8 empty] | 2439.9831 | 0.02709 | [10 empty] | 14889.941 | 0.00055355
1042.0077 | 0.26158 | 574.0031 | 0.051273 | [8 empty] | 2445.9884 | 0.026688 | [10 empty] | 14939.94 | 9.0431e-05
1048.0017 | 0.24181 | 575.9901 | 0.051567 | [8 empty] | 2451.9947 | 0.026399 | [10 empty] | 14990.011 | 0.00054771
1053.9913 | 0.22223 | 578.0097 | 0.052034 | [8 empty] | 2457.9977 | 0.026535 | [10 empty] | 15040.091 | 0.0007926
1060.0099 | 0.19883 | 579.9964 | 0.052141 | [8 empty] | 2463.9897 | 0.025952 | [10 empty] | 15090.067 | 0.00065199
1066.0001 | 0.18115 | 581.9903 | 0.052128 | [8 empty] | 2470.0094 | 0.024929 | [10 empty] | 15139.883 | 0.00055637
1071.9984 | 0.16862 | 584.0033 | 0.051838 | [8 empty] | 2475.9939 | 0.024444 | [10 empty] | 15189.903 | 0.00052669
1078.009 | 0.15562 | 585.9896 | 0.051369 | [8 empty] | 2481.9948 | 0.023968 | [10 empty] | 15240.044 | 0.00053159
1083.9953 | 0.14153 | 588.002 | 0.050897 | [8 empty] | 2488.0009 | 0.023329 | [10 empty] | 15290.065 | 0.00050591
|  | 590.0086 | 0.050395 | [8 empty] | 2494.0079 | 0.023042 | [10 empty] | 15340.01 | 0.0004589
|  | 591.9993 | 0.049885 | [8 empty] | 2499.9913 | 0.023 | [10 empty] | 15389.957 | 0.00042293
|  | 593.9896 | 0.049446 | [8 empty] | 2505.9844 | 0.021835 | [10 empty] | 15440.1 | 0.00045389
|  | 595.995 | 0.049098 | [8 empty] | 2512.0144 | 0.0208 | [10 empty] | 15490.129 | 0.00049294
|  | 598.0049 | 0.04892 | [8 empty] | 2518.0043 | 0.01927 | [10 empty] | 15540.098 | 0.00049389
|  | 599.9869 | 0.048871 | [8 empty] | 2523.9839 | 0.019093 | [10 empty] | 15590.153 | 0.00050297
|  | 601.9932 | 0.049121 | [8 empty] | 2530.0027 | 0.016081 | [10 empty] | 15639.888 | 0.00048617
|  | 604.0031 | 0.049367 | [8 empty] | 2536.0078 | 0.01502 | [10 empty] | 15690.012 | 0.00047436
|  | 606.0023 | 0.049481 | [8 empty] | 2541.9867 | 0.014027 | [10 empty] | 15740.044 | 0.00044471
|  | 608.0053 | 0.049406 | [8 empty] | 2547.9952 | 0.011371 | [10 empty] | 15790.166 | 0.00048069
|  | 609.9992 | 0.049073 | [8 empty] | 2553.9947 | 0.013714 | [10 empty] | 15839.924 | 0.00051974
|  | 611.9918 | 0.048587 | [8 empty] | 2559.9911 | 0.0097198 | [10 empty] | 15889.85 | 0.00053171
|  | 614.0113 | 0.048084 | [8 empty] | 2565.9973 | 0.0070639 | [10 empty] | 15939.914 | 0.00051514
|  | 616.0001 | 0.047355 | [8 empty] | 2572.0179 | 0.0072762 | [10 empty] | 15990.164 | 0.00046705
|  | 618.0026 | 0.046988 | [8 empty] | 2577.9922 | 0.0070217 | [10 empty] | 16040.112 | 0.00053051
|  | 620.0071 | 0.046496 | [8 empty] | 2584.015 | 0.0049353 | [10 empty] | 16090.148 | 0.00048921
|  | 622.0015 | 0.045943 | [8 empty] | 2590.0097 | 0.0043823 | [10 empty] | 16140.103 | 0.00045744
|  | 624.002 | 0.045599 | [8 empty] | 2595.9988 | 0.0043516 | [10 empty] | 16190.157 | 0.00034857
|  | 626.0014 | 0.045402 | [8 empty] | 2602.0037 | 0.0043114
|  | 627.998 | 0.04536 | [8 empty] | 2607.9917 | 0.0033782
|  | 629.9965 | 0.045524 | [8 empty] | 2613.9959 | 0.0040517
|  | 632.0076 | 0.045428 | [8 empty] | 2620 | 0.0040984
|  | 633.9947 | 0.045235 | [8 empty] | 2625.9883 | 0.0057677
|  | 635.9968 | 0.044763 | [8 empty] | 2631.9881 | 0.0042016
|  | 637.9972 | 0.044148 | [8 empty] | 2637.9928 | 0.010507
|  | 639.9987 | 0.043505 | [8 empty] | 2643.9872 | 0.0089186
|  | 641.9972 | 0.042731 | [8 empty] | 2650.0053 | 0.0086421
|  | 644.0108 | 0.042135 | [8 empty] | 2656.0045 | 0.0057566
|  | 646.0009 | 0.041412 | [8 empty] | 2662.0107 | 0.0030014
|  | 648.0089 | 0.040771 | [8 empty] | 2668.0074 | 0.00089694
|  | 649.9969 | 0.039987 | [8 empty] | 2673.9872 | 0.0011105
|  | 652.0101 | 0.039392 | [8 empty] | 2679.9925 | 0.0016208
|  | 653.9939 | 0.038728 | [8 empty] | 2686.0097 | 0.0029086
|  | 656.0043 | 0.037928 | [8 empty] | 2691.9957 | 0.0036027
|  | 658.0007 | 0.036366 | [8 empty] | 2698.0021 | 0.0038248
|  | 659.9977 | 0.036726 | [8 empty] | 2703.9845 | 0.0054128
|  | 662.0091 | 0.039683 | [8 empty] | 2709.9954 | 0.0028847
|  | 663.9934 | 0.042621 | [8 empty] | 2715.9931 | 0.004058
|  | 666.0048 | 0.045897 | [8 empty] | 2721.9852 | 0.0015619
|  | 667.9875 | 0.049234 | [8 empty] | 2728.0093 | 0.0055681
|  | 670.0121 | 0.053132 | [8 empty] | 2734.0046 | 0.0050254
|  | 671.9869 | 0.056719 | [8 empty] | 2740.0127 | 0.0016489
|  | 674.006 | 0.0604 | [8 empty] | 2745.9916 | 0.0038552
|  | 676.0048 | 0.063494 | [8 empty] | 2751.9892 | 0.0028966
|  | 678.0019 | 0.06684 | [8 empty] | 2758.0124 | 0.001926
|  | 679.9952 | 0.069528 | [8 empty] | 2763.9859 | 0.0015024
|  | 681.9893 | 0.071734 | [8 empty] | 2769.995 | 0.0015388
|  | 683.9949 | 0.073255 | [8 empty] | 2776.0073 | 0.0023385
|  | 686.0015 | 0.073883 | [8 empty] | 2781.9906 | 0.0019338
|  | 687.9981 | 0.073496 | [8 empty] | 2787.9921 | 0.001949
|  | 689.9937 | 0.072515 | [8 empty] | 2794.4414 | 0.0032939
|  | 691.9908 | 0.071009 | [8 empty] | 2799.9864 | 0.0030487
|  | 694.0117 | 0.069422 | [8 empty] | 2805.9859 | 0.0018429
|  | 695.9943 | 0.067364 | [8 empty] | 2812.0137 | 0.0033142
|  | 698.0059 | 0.065526 | [8 empty] | 2817.9903 | 0.0028306
|  | 700.007 | 0.063196 | [8 empty] | 2823.9877 | 0.0030114
|  | 702.0127 | 0.061507 | [8 empty] | 2830.0027 | 0.0037646
|  | 703.9901 | 0.060034 | [8 empty] | 2835.9981 | 0.0025461
|  | 705.9891 | 0.058678 | [8 empty] | 2842.0062 | 0.003124
|  | 707.9893 | 0.057579 | [8 empty] | 2848.0078 | 0.003467
|  | 710.0024 | 0.056447 | [8 empty] | 2854.0034 | 0.0026827
|  | 711.9939 | 0.055081 | [8 empty] | 2859.9884 | 0.0030521
|  | 714.0024 | 0.053531 | [8 empty] | 2866.0035 | 0.0034351
|  | 716.0116 | 0.051796 | [8 empty] | 2871.9963 | 0.0029997
|  | 717.9967 | 0.049804 | [8 empty] | 2877.9946 | 0.0032753
|  | 720.0041 | 0.048295 | [8 empty] | 2884.0078 | 0.0033127
|  | 721.9977 | 0.046636 | [8 empty] | 2890.0117 | 0.0030302
|  | 723.9913 | 0.045151 | [8 empty] | 2895.9879 | 0.0032618
|  | 725.9979 | 0.043853 | [8 empty] | 2902.0001 | 0.0027176
|  | 728.0067 | 0.042684 | [8 empty] | 2907.991 | 0.0028776
|  | 730.0111 | 0.041748 | [8 empty] | 2914.0124 | 0.0029532
|  | 732.0114 | 0.04102 | [8 empty] | 2919.9954 | 0.0028128
|  | 733.9902 | 0.040187 | [8 empty] | 2925.9879 | 0.0024722
|  | 736.01 | 0.039457 | [8 empty] | 2932.0001 | 0.0027771