## Slide 1
OCI Pre-launch Calibration
SSAI Team to process OCI pre-launch calibration data
Team is responsible for processing science data during testing and reporting
Compliance with design requirements
Sensor characteristics
Anomalies / Concerns
Team is building automated processing code to perform analysis as data becomes available
Testing on engineering unit in early fall 2019
Flight unit testing scheduled for summer 2020
Spacecraft testing in 2021
Launch in 2022
First build of RVS and polarization code delivered
LPT code undergoing testing
LSF / RSR / Abs Cal / Stray light code to be developed this spring / summer
Notes: 1