Methods for Particulate Carbon and Nitrogen Analysis:

Particles for particulate carbon (PC), nitrogen (PN) and particulate organic carbon (POC, PN, were collected onto pre-combusted (450°C for 4-6 hours) 25 mm Whatman GF/F glass fiber filters, packed in pre-combusted aluminum foil packets, and stored frozen (-20°C).  Once samples were returned to the lab, samples were placed in -80°C freezer for longer-term storage.  Prior to analysis, the filters were dried for ~48 hours in a drying oven at 45-50°C.  POC samples were placed overnight in a sealed desiccator saturated with hydrochloric acid fumes (12M HCl) to remove inorganic carbon from samples for ~24 hours (Hedges & Stern 1984).  Acidified filters were dried again as described previously.  Sample filters were packed into tin foil sheets for analysis.  POC, PC and PN were measured with a vario MICRO cube CHNS elemental analyzer (Elementar Americas, Mt. Laurel, NJ).  Sulfanilamide, the manufacturer recommended calibration standard, was run daily (prior to sample analysis and interspersed between samples) to compute the daily factor, the variation between the daily instrument response relative to the factory calibration, in order to apply the appropriate calibration factor.  Sample carbon and nitrogen were corrected for carbon and nitrogen content measured for single, duplicate or triplicate tin foil sheet blanks. Analytical error for duplicate or triplicate POC and PN measurements averaged 4.70 % and 6.39% respectively for these samples.  A reference standard for carbon, Buffalo River Sediment (BRS) NIST reference material NIST RM 8704; 3.348±0.016 %C), was analyzed three times per day to confirm the performance of the standards and calibration curve.  Our analysis of the BRS NIST RM yielded results within 5% of the NIST values (3.27 +/-.02 %C; n=12; analyzed on 4 separate days).

Hedges, J.I. and J.H. Stern. 1984. Carbon and nitrogen determinations of carbonate-containing solids. Limnol. Oceanogr. 29: 657-663.